Note: Reportedly needs to be said, as we are not making the claim.

Copy and Paste for claims:

Dear M……..,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report provides an analysis of the above-referenced claim.

- Assignment:

The scope of this assignment was to assess the cause of loss, extent of damage, repair costs, and salvage value associated with the insured’s Daikin Industries brand Variable Refrigerant Flow (VRF) Emerion Heat Recovery unit that reportedly sustained damage during a vandalism/theft event on December 7, 2025.

- Findings and Analysis

Loss Solutions Group contacted the insured, Ms. Alex Johnson, with Founding Farmers LLC (774-994-0264), to discuss his role in the claim. Ms. Johnson explained that

Loss Solutions Group contacted the insured’s HVAC vendor, Gaghan Mechanical, Inc. (703-354-2471), and spoke with Mr. Carl Maus to discuss the claimed event and their proposed repairs. The vendor reported that

A total amount of $58,650.00 was presented.

- Scope of damage

Loss Solutions Group submits that the insured’s Daikin Industries brand Variable Refrigerant Flow (VRF) Emerion Heat Recovery unit reportedly sustained major damage during a vandalism/theft event on December 7, 2025.

- Age and Condition

Loss Solutions Group was provided with photographs of the unit and the nomenclature nameplate for the unit. We submit that the unit was around two (2) years old and in average condition at the time of the claimed event.

Or

The insured reported that the affected equipment was around one (1) year old and in average condition at the time of the claimed event.

Or

The insured reported that the affected equipment was new and unused at the time of the claimed event.

Or

- Cause of loss

Loss Solutions Group submits that the damages are consistent with a high-speed wind event. We have confirmed the presence of high-speed winds and a tornado in the insured’s geographical area on the reported date of loss by using the NOAA severe weather data inventory website and www.wunderground.com.

Or

Loss Solutions Group submits that, based on the photos we received of the damage and the information reported to us by the vendor, the damage is consistent with a vandalism/theft event.

- Reparability

Loss Solutions Group has reviewed the provided information and discussed the damage with the vendor involved. We submit that the proposed replacement path is warranted due to the higher extent of damage reportedly sustained during the claimed event.

LSG performed an independent cost analysis utilizing materials cost research (.....

- Cost Analysis

Cost Analysis

Loss Solutions Group assessed the proposed costs by cross-referencing with alternative vendors, drawing on historical data for similar repairs, evaluating comparable equipment pricing, and consulting directly with the involved vendor to verify reasonableness.

GEGHAN MECHANICAL, INC. (703-354-2471) PROPOSAL DATED ON 12/9/2025

Loss Solutions Group reviewed the proposal presented by Geghan Mechanical totaling $58,650.00 for the replacement of the Daikin VRF condensing unit.

Included in the cost is an amount for a

We submit that these components are required to complete the replacement, and the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the replacement. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

- RCV

RCV

Loss Solutions Group submits an amount of $58,650.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

- ACV

ACV

Loss Solutions Group submits an actual cash value (ACV) amount of $54,955.00 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment to be around twenty (20) years.

Or - Varies

Loss Solutions Group submits an actual cash value (ACV) amount of $29,245.50 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment varies based on the equipment type. A further breakdown of this is available in the attached spreadsheet.

- Salvage

For Heartford claims:

Please refer to your internal salvage department to assess the salvage potential.

For others:

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Help with other sections:

Summary section-

The insured, MPW Surfacing Holdings LLC, reported damage to their Flow Mach 200 Integrated Waterjet porcelain cutting CNC machine from a transit incident on November 5, 2024. A total amount of $16,319.05 was presented to us.

NEW AND UNUSED

We eliminate the acv from our ss and write in the acv section of report. Loss Solutions Group has not completed an actual cash value (ACV) analysis for this claimed event, as the equipment was in new and unused condition.

RCV: Add in “breakdown is available in the attached spreadsheet”

ACV: don’t add in age

FURTHER RESEARCH:

Alternate Vendor Contacts

Further research in establishing valuation utilizing third-party vendors is discussed below:

In-depth Utility Solutions LLC (281-969-8530)

Loss Solutions Group contacted In-depth Utilities Solutions and spoke with Mr. Cody Martin in sales to help in gathering the cost of a new Vivax Vcam-6 plumbing camera. Mr. Martin explained that the Vcam-6 comes in a wide variety, starting at $12,000.00 and going up to $15,000.00 dependent on the length of cable and camera size, further validating that the cost that the insured presented is fair and reasonable.

Need a quote on bigger equipment?

Here are some distributers / contacts that are nice and give quotes easily:

Gilbarco gas pumps DEF equipment:

Jason Paul
Paul and Associates Inc.

5460 Brooks St.
Montclair, CA 91763
(909) 391-3889

(909) 460-1219 FAX

www.paulandassoc.com

Carrier units:

Trane units:

Diesal generators:

Transformers: