February 18, 2026

Ms. Kate Raab

Travelers Insurance

PO Box 430

Buffalo, NY 14240

| RE: | Insured: Claimant: | LIQUID 8 TECHNOLOGY, INC. BROOKFIELD PROPERTIES NEW YORK |
| --- | --- | --- |
|  | Claim Number: LSG Matter Number: Date of Loss: | F8J0848 787200.12801-00 September 8, 2025 |

Dear Ms. Raab,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report provides an analysis of the above-referenced claim.

Assignment:

Loss Solutions Group was contacted by Ms. Kate Raab of Travelers Insurance. The scope of this assignment was to assess the extent of damage and salvage value associated with the claimant’s Secure USA-branded wedge-type barrier/security gate unit that sustained damage during a vehicle accident event on September 8, 2025.

Findings and Analysis:

Loss Solutions Group contacted the insured, Mr. Eugene Korzh, with Liquid 8 Technology, Inc (646-747-8437), to discuss his role in the claim. Mr. Korzh explained that one of his truck drivers caused damage to the barrier when the driver was pulling out from the docking area, and that he did not know anything related to the repairs.

Loss Solutions Group contacted Ms. Zoe Norinski (212-618-2600), a tenant in the claimant’s building, Brookfield Properties New York, to discuss her role in the claim. Ms. Norinski explained that she is a tenant in the building where the damage occurred. She had hired Liquid 8 Technologies to dispose of some of her computer equipment, and during their departure, they damaged her building’s security barrier. She mentioned that the building’s management team took charge of communicating with the repair vendor and overseeing the repairs, for which she was billed. Lastly, she believes that the repairs have already been completed.

Loss Solutions Group contacted the claimant’s mechanical repair vendor, D.M. Mechanical Services, Inc (631-256-3055), and spoke with Mr. Michael P. to discuss the claimed event and their repairs. Mr. Michael stated that he was one of three technicians who performed repairs on the security barrier that had been damaged by a vehicle. He noted that both the gearbox shaft of the gate's gearbox and the gate arm motor were damaged and needed to be replaced. Additionally, he explained that the parts replacement was completed by three workers, and the total time taken for the repairs was 72 hours. The vendor assisted us by providing the total sales tax amount for the repairs. When we requested a detailed breakdown of the materials and their costs needed for this repair, Mr. Michael asked us to send him an email. We sent the initial email on January 23, followed by four additional follow-up emails, but received no response. We also made seven additional calls in an attempt to speak with Mr. Michael or anyone else who could provide the detailed breakdown of the parts used in this repair. Unfortunately, we were unsuccessful in obtaining further details from the vendor on the two parts that were required and their costs.

A total amount of $31,737.06 was presented.

Scope of Damage

Loss Solutions Group submits that the claimant’s building’s Secure USA-branded wedge-type barrier/security gate unit sustained damage during a vehicle accident event on September 8, 2025.

Age & Condition

The vendor reported that the affected equipment was around ten (10) years old and in average condition at the time of the claimed event.

Cost Analysis

Loss Solutions Group assessed the proposed costs by cross-referencing with alternative vendors, drawing on historical data for similar repairs, evaluating comparable equipment pricing, and consulting directly with the involved vendor to verify reasonableness.

D.M. MECHANICAL SERVICES, INC. (631-256-3055) PROPOSAL # 25286

Loss Solutions Group reviewed the proposal presented by D.M. Mechanical totaling $31,737.06 for the repairs to the security gate/barrier.

Included in the cost is an amount for a gearbox and shaft assembly, a 1/3 horsepower Leeson-branded gate arm motor, and some cosmetic materials (paint and Bondo). We submit that these components were required to complete the repair.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the repair. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

Note: A difference was noted between the claim cost and Loss Solutions Group’s researched cost, totaling $11,883.81. This discrepancy is due to significantly higher material costs than what we were able to find online. For the first item, the "Gearbox and shaft," we contacted the manufacturer, Secure USA, and confirmed the cost of this assembly is $1,273.13. Regarding the second item, the "Gate arm motor," Loss Solutions Group was provided with a photograph of the motor's nameplate, where we found an identical motor listed on Grainger for $561.77.

Alternate Vendor Contacts

Further research in establishing valuation utilizing third-party vendors is discussed below:

Secure USA (201-568-1906)

Loss Solutions Group contacted Secure USA and spoke with Ms. Leila Birkenhead to help in gathering the costs of a replacement Gearbox and Shaft assembly. Ms. Birkenhead requested that we email (leila.birkenhead@praesidiad.com) her with photographs of their unit so that she could ensure it was the correct assembly. We sent Ms. Birkenhead an email with the details of the damages, and she provided us with an email stating the cost of the assembly, stating that it would cost $1,273.013.

RCV

Loss Solutions Group submits an amount of $19,853.25 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

ACV

Loss Solutions Group submits an actual cash value (ACV) amount of $18,745.50 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment to be around twenty (20) years.

Salvage

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Summary:

Loss Solutions Group’s findings herein are based upon all information that was available at the time of this writing.  The opinions are based upon reviewed documentation, interviews, research, experience, historical references, training and education.

- The insured, Liquid 8 Technology Inc, damaged the claimant’s building’s Secure USA-branded wedge-type barrier/security gate unit during a vehicle accident event on September 8, 2025. A total amount of $31,737.06 was presented.

- The vendor reported that the affected equipment was around ten (10) years old and in average condition at the time of the claimed event.

- Loss Solutions Group submits an amount of $19,853.25 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

  - A difference was noted between the claim cost and Loss Solutions Group’s researched cost, totaling $11,883.81. This discrepancy is due to significantly higher material costs than what we were able to find online. For the first item, the "Gearbox and shaft," we contacted the manufacturer, Secure USA, and confirmed the cost of this assembly is $1,273.13. Regarding the second item, the "Gate arm motor," Loss Solutions Group was provided with a photograph of the motor's nameplate, where we found an identical motor listed on Grainger for $561.77.

- Loss Solutions Group submits an actual cash value (ACV) amount of $18,745.50 based on linear age depreciation of the materials only.

- Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

If you have any questions or if you need any additional information, please feel free to contact Tanner Beuret at (866) 899-8756 ext. 755, or via email at tbeuret@losssolutionsgroup.com.  Team Leader Nick Ramos can be reached at (866) 899-8756 ext. 724, or via email at nramos@losssolutionsgroup.com.

Best regards,

| Tanner Beuret Technical Consultant Loss Solutions Group, LLC |  |
| --- | --- |