January 29, 2026

Mr. Mike Brenner

Travelers Insurance

P.O. Box 430

Buffalo, NY 14240-0430

| RE: | Insured: | SYRACUSE MATTRESS & FURNITURE |
| --- | --- | --- |
|  | Claim Number: LSG Matter Number: Date of Loss: | FQD1210 787200.12811-00 January 22, 2026 |

Dear Mr. Brenner,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report provides an analysis of the above-referenced claim.

Assignment:

Loss Solutions Group was contacted by Mr. Mike Brenner of Travelers Insurance. The scope of this assignment was to assess the extent of damage and salvage value associated with the insured’s Goodman-branded three (3) ton packaged rooftop unit that sustained damage during a vandalism/theft event on January 22, 2026.

Findings and Analysis:

Loss Solutions Group contacted the insured’s first HVAC vendor, Falso Heating, Air Conditioning, and Plumbing (315-446-1376), and spoke with Ms. “Susan” to discuss the proposal that was presented to us. Ms. Susan explained that this proposal dates back to 2019, when a three-ton Goodman packaged rooftop unit was installed. She outlined the basic features of the unit, noting that it is a standard gas heat and electric cool system. Finally, she mentioned that they did not provide the insured with a new quote, as they no longer perform commercial work.

Loss Solutions Group contacted the insured’s second HVAC vendor, ISAAC Heating & Air Conditioning (585-565-0852), and spoke with the estimator, Mr. Joe Currie, to discuss the claimed event and their proposed replacement. The vendor indicated that the job would take approximately one day to complete and provided a detailed breakdown of the components in their estimate. When we inquired about the slightly upgraded unit they proposed (upgrading from a Goodman brand to a Carrier brand), they mentioned that they could not provide a further breakdown of their costs without the insured's permission.

A total amount of $14,550.00 was presented.

Scope of Damage

Loss Solutions Group submits that the insured’s Goodman-branded three (3) ton packaged rooftop unit sustained damage during a vandalism/theft event on January 22, 2026.

Age & Condition

Loss Solutions Group was provided with the original installation quote dated June, 2019. Given this, the affected equipment was around six and a half (6.5) years old and in average condition at the time of the claimed event.

Cost Analysis

Loss Solutions Group assessed the proposed costs by cross-referencing with alternative vendors, drawing on historical data for similar repairs, evaluating comparable equipment pricing, and consulting directly with the involved vendor to verify reasonableness.

ISAAC HEATING & AIR CONDITIONING (585-565-0852) ESTIMATE # 924612552

Loss Solutions Group reviewed the proposal presented by Isaac Heating, totaling $14,550.00 for the replacement of the insured’s three (3) ton rooftop packaged unit.

Included in the cost is an amount for a Carrier-branded Weathermaker rooftop gas heat electric cool unit, a curb adapter for the newer style of unit, a crane to lift out the old unit and place the new unit, and disposal/recycling costs. We submit that these components are required to complete the replacement, and the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the replacement. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

Note: A difference was noted between the claim cost and Loss Solutions Group’s researched cost, totaling $1,000.00. The difference is associated with a slightly upgraded brand of unit, along with some added items necessary to adapt to the newer style unit.

RCV

Loss Solutions Group submits an amount of $13,550.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

ACV

Loss Solutions Group submits an actual cash value (ACV) amount of $10,933.75 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment to be around twenty (20) years.

Salvage

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Summary:

Loss Solutions Group’s findings herein are based upon all information that was available at the time of this writing.  The opinions are based upon reviewed documentation, interviews, research, experience, historical references, training and education.

- The insured, Syracuse Mattress & Furniture, reported that their Goodman-branded three (3) ton packaged rooftop unit sustained damage during a vandalism/theft event on January 22, 2026. A total amount of $14,550.00 was presented.

- Loss Solutions Group was provided with the original installation quote dated June, 2019. Given this, the affected equipment was around six and a half (6.5) years old and in average condition at the time of the claimed event.

- Loss Solutions Group submits an amount of $13,550.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

  - A difference was noted between the claim cost and Loss Solutions Group’s researched cost, totaling $1,000.00. The difference is associated with a slightly upgraded brand of unit, along with some added items necessary to adapt to the newer style unit.

- Loss Solutions Group submits an actual cash value (ACV) amount of $10,933.75 based on linear age depreciation of the materials only.

- Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

If you have any questions or if you need any additional information, please feel free to contact Tanner Beuret at (866) 899-8756 ext. 755, or via email at tbeuret@losssolutionsgroup.com.  Team Leader Nick Ramos can be reached at (866) 899-8756 ext. 724, or via email at nramos@losssolutionsgroup.com.

Best regards,

| Tanner Beuret Technical Consultant Loss Solutions Group, LLC |  |
| --- | --- |