February 19, 2026

Ms. Solangye Ruiz

Travelers Insurance

P.O. Box 430

Buffalo, NY 14240

| RE: | Insured: | Denver Meyers |
| --- | --- | --- |
|  | Claim Number: LSG Matter Number: Date of Loss: | I6D2002 787200.12859-00 June 22, 2025 |

Dear Ms. Ruiz,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report provides an analysis of the above-referenced claim.

Assignment:

Loss Solutions Group was contacted by Ms. Solangye Ruiz of Travelers Insurance. The scope of this assignment was to assess the extent of damage, repair costs, and salvage value associated with the insured’s three (3) ton Carrier-branded residential heat-pump style HVAC system that reportedly sustained damage during a lightning strike event on June 22, 2025.

Findings and Analysis:

Loss Solutions Group contacted the insured, Mr. Denver Meyers, at (256-424-2519) to discuss his role in the claim. Mr. Meyers explained that a lightning strike triggered the building’s fire alarm system due to its intensity, prompting a response from the fire department and the fire chief to ensure his safety. He received two estimates: the first, estimate #53582712, was for attempted repairs, while the second, estimate #52343758, was for a full HVAC system replacement. Although the repair option was available, his HVAC company advised that it would require additional work to identify lingering issues, and they most likely would need to return multiple times to address all unresolved problems. Given the age of his equipment, Mr. Meyers ultimately decided to proceed with the replacement.

Loss Solutions Group contacted the insured’s HVAC vendor, Anytime Heating & Cooling, LLC (256-714-8463), and spoke with Ms. Ashley Torrez to discuss the claimed event and their proposals. Ms. Torrez explained that they found severe damage caused by a lightning strike. The insured requested both a repair option and a replacement quote. In response, they provided an initial quote for repairs, noting that additional work and extra visits would likely be needed to ensure the insured's approximately 14-year-old system continues to function properly. They recommended the replacement option to ensure the insured can be up and running in one day, rather than having to track down lingering issues with an older unit.

A total amount of $13,900.00 was presented.

Scope of Damage

Loss Solutions Group submits that the insured’s three (3) ton Carrier-branded residential heat-pump style HVAC system sustained damage during a lightning strike event on June 22, 2025.

Age & Condition

Loss Solutions Group was provided with photographs of the unit and its nomenclature nameplate. We submit that the unit was around fourteen (14) years old and in average condition at the time of the claimed event.

Reparability

Loss Solutions Group has reviewed the provided information and discussed the damage with the vendor involved. We submit that the proposed replacement path is warranted given the greater extent of damage reportedly sustained during the claimed event.

Cost Analysis

Loss Solutions Group assessed the proposed costs by cross-referencing with alternative vendors, drawing on historical data for similar repairs, evaluating comparable equipment pricing, and consulting directly with the involved vendor to verify reasonableness.

ANYTIME HEATING & COOLING, LLC (256-714-8463) ESTIMATE # 52343758

Loss Solutions Group reviewed the proposal presented by Anytime Heating & Cooling totaling $13,900.00.

Included in the cost is an amount for a Ruud-branded three (3) ton heat pump HVAC condenser unit, air handling unit and coil, a drain pan for the evaporator unit, a new condenser pad, thermostat and thermostat wire, electric whip, duct transitions, copper tubing and fittings, and brazing materials. We submit that these components are required to complete the replacement, and the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the replacement. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

RCV

Loss Solutions Group submits an amount of $13,900.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

Salvage

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Summary:

Loss Solutions Group’s findings herein are based upon all information that was available at the time of this writing.  The opinions are based upon reviewed documentation, interviews, research, experience, historical references, training and education.

- The insured, Denver Meyers, reported that his three (3) ton Carrier-branded residential heat-pump style HVAC system sustained damage during a lightning strike event on June 22, 2025. A total amount of $13,900.00 was presented.

- Loss Solutions Group was provided with photographs of the unit and its nomenclature nameplate. We submit that the unit was around fourteen (14) years old and in average condition at the time of the claimed event.

- Loss Solutions Group has reviewed the provided information and discussed the damage with the vendor involved. We submit that the proposed replacement path is warranted given the greater extent of damage reportedly sustained during the claimed event.

- Loss Solutions Group submits an amount of $13,900.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

- Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

If you have any questions or if you need any additional information, please feel free to contact Tanner Beuret at (866) 899-8756 ext. 755, or via email at tbeuret@losssolutionsgroup.com.  Team Leader Nick Ramos can be reached at (866) 899-8756 ext. 724, or via email at nramos@losssolutionsgroup.com.

Best regards,

| Tanner Beuret Technical Consultant Loss Solutions Group, LLC |  |
| --- | --- |