February 13, 2026

Ms. Abby Legasse

Travelers Insurance

PO Box 430

Buffalo, NY 14240-0430

| RE: | Insured: | Robin Vergato |
| --- | --- | --- |
|  | Claim Number: LSG Matter Number: Date of Loss: | I6G2508 787200.12863-00 January 30, 2026 |

Dear Ms. Legasse,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report provides an analysis of the above-referenced claim.

Assignment:

Loss Solutions Group was contacted by Ms. Abby Legasse of Travelers Insurance. The scope of this assignment was to assess the extent of damage and salvage value associated with the insured’s residential home’s one-half (1/2) HP stainless steel well pump and related equipment that sustained damage during a power anomaly event on January 30, 2026.

Findings and Analysis:

Loss Solutions Group contacted the insured, Ms. Robin Vergato, at (603-560-7810), to discuss the damages related to this claim. Ms. Vergato explained that on January 30th, a power anomaly caused her well pump to stop working. She mentioned that she did not have much knowledge about her well, including its size, style, or age. However, her vendor reportedly replaced parts with like-for-like equipment, with only one upgrade to the system: a "Valve Guard" costing $1,295.00, which should not be included in the price presented and is not related to this incident. She noted that when she moved into the home in 1998, the well was new, making it approximately 28 years old and in average condition at the time of the reported incident.

Loss Solutions Group contacted the insured’s well/pump vendor, Comac Pump and Well LLC. (603-642-3683) and spoke with Ms. Marissa Costa and Mr. Patt Husak to discuss the reported incident and the completed replacement. The vendor indicated that they discovered severe electrical damage, which required a full replacement. They replaced the equipment with like-for-like items, with one upgrade to the system: an enhanced home Valve Guard. Lastly, the vendor helped us in breaking their costs down and explained the specific poly pipe and electrical cabling required.

A total amount of $11,681.16 was presented.

Scope of Damage

Loss Solutions Group submits that the insured’s residential home’s one-half (1/2) HP stainless steel well pump and related equipment sustained damage during a power anomaly event on January 30, 2026.

Age & Condition

The insured reported that the affected equipment was newly installed when they purchased the home in 1998, making their equipment around twenty-eight (28) years old and in average condition at the time of the claimed event.

Cost Analysis

Loss Solutions Group assessed the proposed costs by cross-referencing with alternative vendors, drawing on historical data for similar repairs, evaluating comparable equipment pricing, and consulting directly with the involved vendor to verify reasonableness.

COMAC PUMP AND WELL LLC (603-642-3683) INVOICE # 27885

Loss Solutions Group reviewed the invoice presented by Comac Pump totaling $11,681.16 for the replacement of the insured’s well pump.

Included in the cost is an amount for a one-half (1/2) horsepower stainless steel submersible pump, brass check valves, male adapters, pinch clips, a pipe torque arrestor, cable tape, heat shrink connectors, two hundred fifty-five (255) feet of flat 12/3AWG braded wire deep well cable, sanitizer, a new thirty-three (33) gallon steel storage tank, tank manifold equipment, inline chack valve, ball valve, tank drain, pressure switch nipple, pressure relief valve, thread sealant, pressure gauges, an assortment of PEX pipe and connections, one (1) inch inside diameter Blue plastic well piping two hundred fifty-five (255) feet, shark bite fittings, and an electrical one-half (1/2) HP control panel. We submit that these components are required to complete the replacement, and most of the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the replacement. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

Note: A difference was noted between the claim cost and Loss Solutions Group’s researched cost, totaling $2,798.06. The difference is linked to higher-than-researched costs for the 12/3 AWG twisted submersible pump cabling, as well as increased costs for the heavy-duty blue plastic well tubing with a one (1) inch inside diameter. Lastly, we also deducted the cost of the extra item upgraded to the system, a "Valve Guard."

RCV

Loss Solutions Group submits an amount of $8,883.10 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

Salvage

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Summary:

Loss Solutions Group’s findings herein are based upon all information that was available at the time of this writing.  The opinions are based upon reviewed documentation, interviews, research, experience, historical references, training and education.

- The insured, Robin Vergato, reported that their residential home’s one-half (1/2) HP stainless steel well pump and related equipment sustained damage during a power anomaly event on January 30, 2026. A total amount of $11,681.16 was presented.

- The insured reported that the affected equipment was newly installed when they purchased the home in 1998, making their equipment around twenty-eight (28) years old and in average condition at the time of the claimed event.

- Loss Solutions Group submits an amount of $8,883.10 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

  - A difference was noted between the claim cost and Loss Solutions Group’s researched cost, totaling $2,798.06. The difference is linked to higher-than-researched costs for the 12/3 AWG twisted submersible pump cabling, as well as increased costs for the heavy-duty blue plastic well tubing with a 1 (one) inch inside diameter. Lastly, we also deducted the cost of the extra item upgraded to the system, a "Valve Guard."

- Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

If you have any questions or if you need any additional information, please feel free to contact Tanner Beuret at (866) 899-8756 ext. 755, or via email at tbeuret@losssolutionsgroup.com.  Team Leader Nick Ramos can be reached at (866) 899-8756 ext. 724, or via email at nramos@losssolutionsgroup.com.

Best regards,

| Tanner Beuret Technical Consultant Loss Solutions Group, LLC |  |
| --- | --- |