| LSG Matter #: | 787200.12863-00 - ROBIN VERGATO | Did the loss exceed $75K? |  |
| --- | --- | --- | --- |
| Date Assigned: | 2/12/2026 | If yes, date you informed Adj: |  |

| Date & Time | Contact (Party/Name) | Notes: well pump control box damaged due to power surge. |
| --- | --- | --- |
|  |  | Cause of loss – Degree of damage – Costs required to achieve a pre-loss condition – Age, mfgr, model – Extent of damage – Addendum (Docs) – Vendor came out? – Has it been repaired yet?- How can I help? Am I missing anything? Anything else I should know? |
| 2/13 – 10min 5min | Adjuster (Ms. Abby Legasse) ALEGASSE@travelers.com (603) 851-8091 | 2/13- emailed update. Almost done. 2/17- emailed in proofing. |
| 2/13- 5min 20min | Insured Robin Vergato (603) 560-7810 | 2/13- I called Ms. Robin, left vm. They came in and replaced everything. Control box replaced. Pressure tank, optional item for pressure, well pump, wiring, piping, don’t know what was installed. She is the home owner, she replaed it with similar items. They had a tank before, similar than the one that was installed. Same collor and size. Up and running now with water. They did a great job that one day. They were up and running in 8 hours. Same day they called. 300feet well 250 feet down for the pump. What was installed before? How old? 1998 or older when they moved in. . So roughly 28 years old |
| 2/13- 18min call 2/17- 10min call | Vendor – Comac Pump and Well LLC info@comacpumpandwell.com (603) 642-3683 | Needed to replace all items associated with it to ensure proper function. 2/13- I called, transferred to Ms. Marissa Costa Extra add on items: brass 1” Blue ice poly 250’ roll: pipe 250feet “brass 11 interior cycle guard valve” upgrade by how much? Pump: like for like. AGE OF THE EQUIPMENT. NEEDED TO REPLACED EVERYTHING. PIPES, TANK, VALVES, PRESSURE GAUGES. 2/17- I called again, SPOKE WITH PATT HD BLUE POLY PIPE (255 FT): 1inch inner diameter. Mr. Patt Husak = 200psi pex a potable water tubing. PUMP CABLE 12/3 AWG: 12 gauge pump wire, not flat, submergible pump wire. 255 includes connections. |
|  | Vendor - () @ # |  |