Comac Pump and Well LLC

PO Box 425 -13 New Boston Rd

Kingston, NH  03848 +16036423683

info@comacpumpandwell.com

# INVOICE

| BILL TO Robin Vergato 472 Brown Rd Candia, NH 03034 USA |  | SHIP TO 472 Brown Rd Candia, NH 03034 | SHIP DATE SHIP VIA | 01/30/2026 PC/DC | INVOICE DATE TERMS DUE DATE |  |  | 27885 01/30/2026 Due on receipt 01/30/2026 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| QTY | DESCRIPTION |  |  |  |  |  | RATE | AMOUNT |  |

DIAGNOSTIC/SERVICE CALL - CUSTOMER PANICKED AFTER HEARING EXPLOSION. SHE SAW

CONTROL BOX COVER THROWN ACROSS THE ROOM AND INTERNAL  PARTS STREWN ON THE FLOOR, AND AS A RESULT HAS NO WATER

| 1 | CS/CR 7GPM 1/2HP 3W STAINLESS STEEL SUBMERSIBLE PUMP 100187963Y | 2,335.00 | 2,335.00 |
| --- | --- | --- | --- |
| 1 | BRASS 1.25" X 1.0' REDUNDANT PUMP CHECK VALVE | 164.85 | 164.85 |
| 2 | BRASS/STAINLESS STEEL 1" FORGED MALE ADAP | 49.50 | 99.00 |
| 4 | STAINLESS STEEL CLAMP FOR 1" POLY | 6.90 | 27.60 |
| 1 | PREMIUM TORQUE ARRESTOR | 58.90 | 58.90 |
| 4 | ALL WEATHER DEEP WELL CABLE SECURE TAPE | 12.50 | 50.00 |
| 4 | 3 PART CLEAR PREMIUM HEAT SHRINK CONNECTOR/TUBE | 32.80 | 131.20 |
| 255 | HD SUBMERSIBLE 12/3WG DEEP WELL CABLE (PER FOOT) | 4.88 | 1,244.40 |
| 1 | WELL SANITIZER | 75.00 | 75.00 |
| 1 | 33 GALLON FLEXCON STEEL TANK ASSY. 122R470145Y | 1,779.00 | 1,779.00 |
| 1 | BRASS LEAD FREE TANK MANIFOLD | 166.04 | 166.04 |
| 1 | BRASS 1" EXTRA LONG 4201LE CHECK VALVE | 136.50 | 136.50 |
| 1 | BRASS 1" NPT FULL PORT BALL VALVE | 103.50 | 103.50 |
| 1 | BRASS PREMIUM 1/4 TURN BOILER DRAIN | 56.98 | 56.98 |
| 1 | BRASS 1/4"X3" NIPPLE FOR PRESSURE SWITCH USE | 21.60 | 21.60 |
| 1 | 100PSI 1/2" PREMIUM BRASS PRESSURE RELIEF VALVE | 66.55 | 66.55 |
| 1 | NYLON 1" NPT MALE ADAPTER | 12.75 | 12.75 |
| 1 | EXTRA HIGH DENSITY TEFLON HD THREAD SEALING TAPE | 6.50 | 6.50 |
| 1 | 40/60 PRESSURE SWITCH | 69.90 | 69.90 |
| 1 | PREMIUM LIQUID FILLED 0-100PSI PRESSURE GAUGE WITH SS HOUSING | 59.90 | 59.90 |
| 1 | PEX 1" SLIPXSLIP 90 DEGREE ELBOW | 19.90 | 19.90 |
| 2 | PEX 1" PIPE, PER FOOT | 5.70 | 11.40 |

We greatly appreciate your business!

A 3.5% fee will be added to all credit card transactions

Page 1 of 2

| 1 | PEX 1" INSERT MALE ADAPTER | 36.50 | 36.50 |
| --- | --- | --- | --- |
| 3 | PEX 1" STAINLESS STEEL CLAMP | 3.95 | 11.85 |
| 1 | DOUBLE POLE WALL SWITCH WITH LOCKOUT TAGOUT | 98.00 | 98.00 |
| 1 | HD BLUE ICE POLY 250' ROLL | 795.00 | 795.00 |
| 1 | BRASS 1" INTERIOR CYCLE GUARD VALVE, ADJUSTABLE HOUSING | 1,295.00 | 1,295.00 |
| 1 | 1-1/4" x 1" SHARKBITE | 77.92 | 77.92 |
| 1 | 1/2HP CS/CR CONTROL PANEL | 438.00 | 438.00 |
| 1 | PORTABLE PUMP HOIST CHARGE PER FOOT | 312.50 | 312.50 |
| 6 | PC LABOR TECH PER HOUR | 165.00 | 990.00 |
| 6 | DC LABOR ASST TECH PER HOUR | 155.00 | 930.00 |
| -1 | TAE | 0.08 | -0.08 |

Upon inspection discovered pump control unit had blown up due to excessive power surge Existing 3W system

Replaced pump and tank with 3W configuration

Pump with cycle guard valve - 3yr manufacturer's warranty

Tank - 5yr manufacturers warranty

Parts and labor - 1yr warranty

PAYMENT	11,681.16

BALANCE DUE

$0.00

PAID

We greatly appreciate your business!

A 3.5% fee will be added to all credit card transactions

Page 2 of 2