February 7, 2026

Ms. Teri Tucker

Hanover Insurance

PO Box 15147

Worcester, MA 01615

| RE: | Insured: | Spare Time Inc. |
| --- | --- | --- |
|  | Claim Number: LSG Matter Number: Date of Loss: | 85-00893419 426600.4162-00 December 24, 2025 |

Dear Ms. Tucker,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report provides an analysis of the above-referenced claim.

Assignment:

Loss Solutions Group was contacted by Ms. Teri Tucker of Hanover Insurance. The scope of this assignment was to assess the extent of damage and salvage value associated with the insured’s two (2) Trane-branded ten (10) ton packaged HVAC units that sustained damage during a vandalism/theft event on December 24, 2025.

Findings and Analysis:

Loss Solutions Group contacted the insured, Mr. Chris Vandyke, with Spare Time Inc. (209-371-9839), to discuss his role in the claim. Mr. Vandyke explained how vandals gained access to his ground-mounted packaged HVAC units and dismantled them of their valuables. Lastly, he stated that this was the first vandalism event and that he had another event two (2) days later on the 26th.

Loss Solutions Group contacted the insured’s HVAC vendor, Iron Mechanical (916-347-6292), and spoke with Mr. Michael Dobkin to discuss the claimed event and their repairs. The vendor reported that they arrived to find two (2), ten (10) ton Trane ground mounted roof top units (RTUs) had been stripped of its valuable copper and electrical equipment, requiring a full replacement of the two (2) RTUs (RTU 1-G and 1-H).

A total amount of $70,641.00 was presented.

Scope of Damage

Loss Solutions Group submits that the insured’s two (2) Trane-branded ten (10) ton packaged HVAC units sustained extensive damage to them during a vandalism/theft event on December 24, 2025.

Age & Condition

The insured reported that the affected equipment was around twenty (20) years old and in average condition at the time of the claimed event.

Cost Analysis

Loss Solutions Group assessed the proposed costs by cross-referencing with alternative vendors, drawing on historical data for similar repairs, evaluating comparable equipment pricing, and consulting directly with the involved vendor to verify reasonableness.

IRON MECHANICAL (916-347-6292) ESTIMATE # 25-SP-495 (REPLACEMENT OF RTU 1-G & 1-H)

Loss Solutions Group reviewed the proposal presented by Iron Mechanical totaling $70,641.00 for the replacement of the two (2) packaged units.

Included in the cost is an amount for two (2) replacement in-kind ten (10) ton Bryant packaged units, high voltage electrical equipment, gas piping, thermostat wiring, and two condensation drain line piping. We submit that these components are required to complete the replacement, and the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the replacement, along with their travel expenses. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

Note: The vendor decided to replace the Trane-branded units with Bryant-branded units. Both brands are produced by Carrier Global Corporation in the same manufacturing facilities and share many interchangeable internal components. Since Bryant is comparable in quality to Trane, we do not expect a significant price difference between the two brands.

RCV

Loss Solutions Group submits an amount of $70,641.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

ACV

Loss Solutions Group submits an actual cash value (ACV) amount of $34,791.00 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment to be around twenty (20) years.

Salvage

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Summary:

Loss Solutions Group’s findings herein are based upon all information that was available at the time of this writing.  The opinions are based upon reviewed documentation, interviews, research, experience, historical references, training and education.

- The insured, Spare Time Inc, reported that their two (2) Trane-branded ten (10) ton packaged HVAC units sustained damage during a vandalism/theft event on December 24, 2025. A total amount of $70,641.00 was presented.

- The insured reported that the affected equipment was around twenty (20) years old and in average condition at the time of the claimed event.

- Loss Solutions Group submits an amount of $70,641.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

- Loss Solutions Group submits an actual cash value (ACV) amount of $34,791.00 based on linear age depreciation of the materials only.

- Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

If you have any questions or if you need any additional information, please feel free to contact Tanner Beuret at (866) 899-8756 ext. 755, or via email at tbeuret@losssolutionsgroup.com.  Team Leader Nick Ramos can be reached at (866) 899-8756 ext. 724, or via email at nramos@losssolutionsgroup.com.

Best regards,

| Tanner Beuret Technical Consultant Loss Solutions Group, LLC |  |
| --- | --- |