| LSG Matter #: | 426600.4163-00 - SPARE TIME INC. #2 | Did the loss exceed $75K? |  |
| --- | --- | --- | --- |
| Date Assigned: | 1/27/2026 | If yes, date you informed Adj: |  |

| Date & Time | Contact (Party/Name) | Notes: Event on 12/26 2 ac units and one backflow preventer. |
| --- | --- | --- |
|  |  | Cause of loss – Degree of damage – Costs required to achieve a pre-loss condition – Age, mfgr, model – Extent of damage – Addendum (Docs) – Vendor came out? – Has it been repaired yet?- How can I help? Am I missing anything? Anything else I should know? |
| 10min 10min 5min 5min | Adjuster (Ms. Teri Tucker) TETUCKER@HANOVER.COM (508) 579-6719 | 1/27- emailed update sent. Unable to speak with insured. 1/29- emailed teri asking for more info as she sent backflow info. 1/30- emailed asking if she wanted me to add the backflow preventer to this claim. 1/31- email I spoke with insured. 2/4- emailed update. 2/7- emailed update sent in proofing. |
| 5min 10min | Insured Spare Time Inc. Chris Vandyke Corporate Maintenance Director (209) 371-9839 | 1/27- I called, no answer. Left vm. 1/30- Hvac units needing to be replaced and one needing to be repaired. backflow preventer. Frontside of building. It was leaking. They discovered the unit in the back that the stemps were cut No way to turn it off in an emrgeny. Someone was caught not far from them and got arrested for taking rail equipment. American standard unit: not sure what age. 10-15 years old possibly. Trane: 20 years old |
| 25min | Vendor - Iron Mechanical Michael Dobkin Construction Services mdobkin@ironmechanical.com (916) 347-6292 | Emails on 1/2/26- stating all the quotes. 2/3- called and spoke with Michael. Backflow was dute to a vandle cutting it. They repaced the valve stems with stainless steel. 8” febco. |
|  |  | Spare Time “claim #2” (claim # 85-00893419): Date of loss: 12/26/25 For: one hvac unit repairable and one total loss. Units: “1-E & 1-C” (1-C = repairable) Costs: $46,876.00 ($35,230.00 + $11,556.00) Main water backflow preventer = $5945.00 |
|  | American standard unit: FULL REPLCAMENT 15YEARS 1-E | MN: YSC120F4ELA1W SN: 170810855L GAS HEAT 10 TON UNIT MICROCHANEL TYPE CONDENSER LOW HEATING |
|  | TRANE UNIT REPAIRABLE 20YEARS 1-C | YHC120A4ELA34 GAS HEAT, HIGH EFFICENCY 10 TON UNIT |
|  | DIFFERING BRANDS | AMERICAN STANDARD MADE BY TRANE WHILE BRYANT IS MADE BY CARRIER. BOTH ARE SIMILAR IN RELIABILITY AND QUALITY. |