## Sheet1
INSURED: SPARE TIME INC.
LSG MATTER #: 426600.4163-00
CLAIM #: 85-00900748
DATE OF LOSS: 12/26/2025
CAUSE OF LOSS: VANDALISM / THEFT
IRON MECHANICAL (916-347-6292) ESTIMATE # 26-SP-008 (REPLACEMENT OF RTU 1-E)
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | DEMO AND REPLACE RTU # 1E (AMERICAN STANDARD BRAND 10 TON) | 1 | 35320 | 35320 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | DEMO AND REPLACE AMERICAN STANDARD BRAND 10 TON UNIT WITH A BRYANT BRAND 10 TON RTU
2 | 10 TON ROOFTOP UNIT (BRYANT) | 0 | 0 | 0 | 1 | 22100 | 22100 | 15 | 20 | 5525 | 75% | 16575 | AVERAGE | ONE REPLACEMENT BRYANT BRAND 10 TON RTU'S. GAS HEAT ELECTRIC COOLING. WITH AN ADDED VENDOR MARK UP ON MATERIALS.
3 | MISC. COPPER, PVC, ELECTRICAL. | 0 | 0 | 0 | 1 | 300 | 300 | 15 | 20 | 75 | 75% | 225 | AVERAGE | PVC PIPING, COPPER PIPING, COPPER CONNECTIONS, BRAZING MATERIALS, NITROGEN GAS, ETC.
4 | HIGH VOLTAGE ELECTRICAL EQUIPMENT. | 0 | 0 | 0 | 1 | 1500 | 1500 | 15 | 20 | 375 | 75% | 1125 | AVERAGE | NEW DISCONNECTS, FUSES, CONDUIT, BREAKERS.
5 | RECONNECT WIRING AND THERMOSTAT | 0 | 0 | 0 | 1 | 100 | 100 | 15 | 20 | 25 | 75% | 75 | AVERAGE | RECONNECTING TO WIRING AND THERMOSTAT WIRING.
6 | NEW CONDENSATE PIPING | 0 | 0 | 0 | 1 | 100 | 100 | 15 | 20 | 25 | 75% | 75 | AVERAGE | NEW PVC CONDENSATION PIPING.
7 | CURB AND AND DUCT ADAPTERS. | 0 | 0 | 0 | 1 | 1600 | 1600 | 15 | 20 | 400 | 75% | 1200 | AVERAGE | HVAC CURB FOR THE NEW UNIT TO SIT ON AND DUCTWORK ADAPTERS TO TIE INTO EXISTING DUCTWORK.
8 | TRUCK CHARGE | 0 | 0 | 0 | 4 | 25 | 100 | N/A | N/A | 100 | 0% | 0 | N/A | WORK TRUCK CHARGE PER TECHNICIAN
9 | CRANE | 0 | 0 | 0 | 1 | 1100 | 1100 | N/A | N/A | 1100 | 0% | 0 | N/A | THE USE OF A CRANE FOR ONE DAY. TO LIFT OUT THE OLD UNIT AND LIFT IN THE NEW UNIT.
10 | RECYCLING / DISPOSAL CHARGE | 0 | 0 | 0 | 1 | 420 | 420 | N/A | N/A | 420 | 0% | 0 | N/A | DISPOSAL AND RECYCLING OF THE DISMANTLED UNIT.
11 | LABOR | 0 | 0 | 0 | 40 | 200 | 8000 | N/A | N/A | 8000 | 0% | 0 | N/A | FOUR TECHNICIANS FOR ONE 10 HOUR WORK DAY.
SUB-TOTAL |  |  |  | 35320 |  |  | 35320 |  |  | 16045 |  | 19275
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 35320 |  |  | 35320 |  |  | 16045 |  | 19275
IRON MECHANICAL (916-347-6292) ESTIMATE # 1008251658 (REPAIR TO RTU 1-C)
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | REPAIR AC 1C | 1 | 11556 | 11556 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | REPAIRS TO 1-C. THIS COST WAS GIVEN TO US IN A LUMP SUM COST. WITH HELP FROM THE VENDOR WE WERE ABLE TO BREAK THIS COST DOWN AS FOLLOWS.
2 | COMPRESSORS | 0 | 0 | 0 | 2 | 4000 | 8000 | 20 | 20 | 2000 | 75% | 6000 | AVERAGE | 460 VOLT 3 PHASE FOR A 10 TON TRANE PACKAGED UNIT. SCROLL COMPRESSOR. WITH VENDOR MARK UP ON MATERIALS.
9 | COMPRESSOR ELECTRICAL HARNES | 0 | 0 | 0 | 2 | 205 | 410 | 20 | 20 | 102.5 | 75% | 307.5 | AVERAGE | HARNESS FOR 12AWG TRANE BRANDED COMPRESSOR.
3 | NEW FILTER LINE DRYERS | 0 | 0 | 0 | 2 | 84 | 168 | 20 | 20 | 42 | 75% | 126 | AVERAGE | TWO LIQUID LINE FILTER DRYERS.
4 | REFRIGERANT (407A) REPLACEMENT | 0 | 0 | 0 | 15 | 100 | 1500 | 20 | 20 | 375 | 75% | 1125 | AVERAGE | ROUGHLY FIFTEEN POUNDS OF R407A REFRIGERANT
5 | SUCTION LINE PIPING | 0 | 0 | 0 | 1 | 25 | 25 | 20 | 20 | 6.25 | 75% | 18.75 | AVERAGE | REPAIRS TO SUCTION LINE PIPING.
6 | REPAIR DISCHARGE LIQUID LINE PIPING | 0 | 0 | 0 | 1 | 25 | 25 | 20 | 20 | 6.25 | 75% | 18.75 | AVERAGE | REPAIRS TO DISCHARGE LINE PIPING.
7 | REFRIGERANT FLUSH (RX-11) | 0 | 0 | 0 | 1 | 228 | 228 | N/A | N/A | 228 | 0% | 0 | N/A | REFRIGERANT FLUSHING KIT TO REMOVE NON-CONDENSABLES.
8 | LABOR HOURS | 0 | 0 | 0 | 8 | 150 | 1200 | N/A | N/A | 1200 | 0% | 0 | N/A | LABOR HOURS FOR ONE TECHNICIAN FOR ONE DAY OF WORK.
SUB-TOTAL |  |  |  | 11556 |  |  | 11556 |  |  | 3960 |  | 7596
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 11556 |  |  | 11556 |  |  | 3960 |  | 7596
IRON MECHANICAL (916-347-6292) ESTIMATE # 1008251689 (BACKFLOW REPAIR)
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | REPLACE BACKFLOW STEMS | 1 | 5945 | 5945 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | THIS COST WAS GIVEN TO US IN A LUMP SUM TOTAL. WITH HELP FROM THE VENDOR WE WERE ABLE TO BREAK THIS COST DOWN AS FOLLOWS.
2 | REPLACE STOLEN BRAS STEMS WITH STAINLESS STEEL | 0 | 0 | 0 | 2 | 1027 | 2054 | 20 | 20 | 513.5 | 75% | 1540.5 | AVERAGE | STAINLESS STEEL STEMS ON 8" FEBCO BACKFLOW UNIT. WITH ADDED VENDOR MARK UP ON MATERIALS.
3 | LABOR COSTS | 0 | 0 | 0 | 18 | 200 | 3600 | N/A | N/A | 3600 | 0% | 0 | N/A | TWO PLUMBERS FOR ONE EXTENDED DAY OF WORK.
4 | PERMITS AND TESTING. | 0 | 0 | 0 | 1 | 291 | 291 | N/A | N/A | 291 | 0% | 0 | N/A | TESTING / PERMITS FOR GOLDEN STATE WATER
SUB-TOTAL |  |  |  | 5945 |  |  | 5945 |  |  | 4404.5 |  | 1540.5
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 5945 |  |  | 5945 |  |  | 4404.5 |  | 1540.5
| TOTAL PRESENTED |  |  | 52821
| TOTAL RESEARCHED RCV |  |  | 52821
| TOTAL ACV |  |  | 24409.5
| TOTAL DEPRECIATION |  |  | 28411.5