## Sheet1
INSURED: RICHARD HURTADO DBA OG BIRRIERIA
LSG MATTER #: 427800.16599-00
CLAIM #: CP0021403637
DATE OF LOSS: 1/24/2026 | [5 empty] | COLOR DENOTES PRICING DISCREPANCY
CAUSE OF LOSS: WATER
GLOBAL FOOD TRUCKS LLC (971-300-3235) ESTIMATE FOR OG BIRRIERIA
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | INSURANCE DOCUMENTATION & PRESSURE TESTING | 16 | 187.5 | 3000 | 20 | 150 | 3000 | N/A | N/A | 3000 | 0% | 0 | N/A | TWO (2) TECHNICIANS FOR ROUGHLY TEN (10) HOURS OF WORK TO PRESSURE TEST AND ASSESS THE TRUCK AND ITS DAMAGES. THIS ALSO INCLUDES INSURANCE PAPERWORK AND TIME DISCUSSING THE DAMAGES WITH THEM.
2 | DEMOLITION & REMOVAL | 40 | 150 | 6000 | 40 | 150 | 6000 | N/A | N/A | 6000 | 0% | 0 | N/A | FOUR (4) TECHNICIANS TO WORK A TOTAL OF FOURTH (40) HOURS TO DEMOLITION / REMOVAL OF DAMAGED EQUIPMENT.
3 | PEX WATER LINES | 150 | 20 | 3000 | 150 | 2.11 | 316.5 | 3 | 20 | 269.025 | 15% | 47.475 | AVERAGE | ROUGHLY ONE HUNDRED AND FIFTY (150) FEET OF 1/2" AND 3/4" PEX WATER LINES. ($211/100FT = 2.11 $/FT) (VENDOR COULD NOT STATE EXACTLY HOW MANY FEET OF WHAT SIZE PIPING THEY WOULD REQUIRE AND SAID THAT IT WOULD BE ROUGHLY ONE HUNDRED FIFTY (150) FEET OF WATER LINES.
4 | COMMERCIAL PLUMBING FITTINGS | 1 | 2000 | 2000 | 1 | 2000 | 2000 | 3 | 20 | 1700 | 15% | 300 | AVERAGE | ASSORTMENT OF PLUMBING FITTINGS AND CONNECTIONS. (1/2", 3/4", 1")
5 | COMMERCIAL VALVES | 1 | 1000 | 1000 | 10 | 40 | 400 | 3 | 20 | 340 | 15% | 60 | AVERAGE | ROUGHLY TEN (10) ONE HALF (1/2) AND THREE QUARTERS (3/4) INCH VALVES (VENDOR COULD NOT STATE HOW MANY VALVES THEY WOULD NEED.)
6 | PIPE INSULATION AND FREEZING PROTECTION MATERIALS | 1 | 1000 | 1000 | 1 | 1000 | 1000 | 3 | 20 | 850 | 15% | 150 | AVERAGE | PIPE INSULATION AND OTHER FREEZING PROTECTION MATERIALS LIKE INSULATION.
7 | WATER HEATER UNIT | 1 | 2100 | 2100 | 1 | 2100 | 2100 | 3 | 20 | 1785 | 15% | 315 | AVERAGE | COMMERCIAL EXTERIOR PROPANE TANKLESS HOT WATER SYSTEM EQUIVALENT TO PRECISION TEMP RV-700.
8 | WATER HEATER INSTALLATION | 16 | 150 | 2400 | 16 | 150 | 2400 | N/A | N/A | 2400 | 0% | 0 | N/A | WATER HEATER INSTALLATION. TWO (2) TECHNICIANS FOR EIGHT (8) HOURS EACH.
9 | WATER HEATER GAS HOOKUP / REGULATOR / CONNECTIONS | 1 | 650 | 650 | 1 | 650 | 650 | 3 | 20 | 552.5 | 15% | 97.5 | AVERAGE | RV STYLE GAS REGULATOR AND CONNECTIONS. PLUS A VENDOR MARK UP ON MATERIALS.
10 | WATER HEATER VENTING KIT / EXHAUST COMPONENTS | 1 | 450 | 450 | 1 | 450 | 450 | 3 | 20 | 382.5 | 15% | 67.5 | AVERAGE | WATER HEATER VENTING KIT FOR EXHAUST. PLUS A VENDOR MARK UP ON MATERIALS.
11 | WATER HEATER COMPLIANCE HARDWARE (MOUNTING) | 1 | 300 | 300 | 1 | 300 | 300 | 3 | 20 | 255 | 15% | 45 | AVERAGE | TANKLESS WATER HEATER WALL MOUNTED BRACKET KIT TO SECURE WATER HEATER..
12 | 75 GALLON FRESH WATER TANK AND INSTALL (LABOR) | 16 | 175 | 2800 | 14.6667 | 150 | 2200 | N/A | N/A | 2200 | 0% | 0 | N/A | TWO (2) TECHNICIANS FOR ROUGHLY SEVEN (7) HOURS EACH TO INSTALL THE FRESH WATER TANK ALONG WITH WATER LINES. (THIS COST ALSO INCORPORATES THE COST OF THE TANK.) LSG BROKE THIS COST INTO ITS TWO (2) COMPONENTS (LABOR VS MATERIALS)
13 | 75 GALLON FRESH WATER TANK (MATERIALS) | 0 | 0 | 0 | 1 | 600 | 600 | 3 | 20 | 510 | 15% | 90 | AVERAGE | SEVENTY FIVE (75) GALLON RV FRESH WATER TANK.
14 | 250 GALLON GRAY WATER TANK AND INSTALL (LABOR) | 16 | 262.5 | 4200 | 23.3333 | 150 | 3500 | N/A | N/A | 3500 | 0% | 0 | N/A | TWO (2) TECHNICIANS FOR ROUGHLY TWENTY THREE (23) LABOR HOURS TO INSTALL GRAY WATER TANK AND WATER LINES.(THIS COST ALSO INCORPORATES THE COST OF THE TANK.) LSG BROKE THIS COST INTO ITS TWO (2) COMPONENTS (LABOR VS MATERIALS)
15 | 250 GALLON GRAY WATER TANK (MATERIALS) | 0 | 0 | 0 | 1 | 700 | 700 | 3 | 20 | 595 | 15% | 105 | AVERAGE | TWO HUNDRED FIFTY (250) GALLON RV GRAY WATER TANK.
16 | FLOOR RESTORATION (LABOR) | 32 | 100 | 3200 | 21.3333 | 150 | 3200 | N/A | N/A | 3200 | 0% | 0 | N/A | FOUR (4) TECHNICIANS FOR A TOTAL OF ROUGHLY TWENTY ONE (21) HOURS OF WORK FOR ONE HUNDRED NINETY TWO (192) SQ/FEET OF FLOORING TO BE SCRUBBED, SANITIZED, AND CLEANED.
17 | SYSTEM INTEGRATION (PLUMBING AND MANIFOLD) | 1 | 2500 | 2500 | 16.6667 | 150 | 2500 | N/A | N/A | 2500 | 0% | 0 | N/A | TWO (2) TECHNICIANS FOR ROUGHLY SIXTEEN (16) HOURS OF LABOR TO INSTALL PLUMBING AND MANIFOLD EQUIPMENT..
18 | SYSTEM INTEGRATION (FIXTURES, VALVES, LINES) | 1 | 1800 | 1800 | 12 | 150 | 1800 | N/A | N/A | 1800 | 0% | 0 | N/A | TWO (2) TECHNICIANS FOR SIX (6) HOURS OF LABOR EACH TO INSTALL FIXTURES, VALVES, AND LINES.
19 | SYSTEM INTEGRATION (TANK/HEATER CONNECTIONS, SENSORS, CONTROLS) | 1 | 1200 | 1200 | 8 | 150 | 1200 | N/A | N/A | 1200 | 0% | 0 | N/A | ONE (1) TECHNICIAN FOR ONE (1) DAY OF LABOR TO INSTALL TANK, HEATER, CONNECTIONS, SENSORS, AND CONTROLLERS.
20 | SYSTEM INTEGRATION (SANITIZATION, FLUSHING, LEAK REMEDIATION) | 1 | 1400 | 1400 | 9.3333 | 150 | 1400 | N/A | N/A | 1400 | 0% | 0 | N/A | ONE (1) TECHNICIAN FOR JUST OVER NINE (9) HOURS OF LABOR TO MAKE FINAL SANITIZATION WORK, FLUSHING OF THE SYSTEM, AND TO TEST/CORRECT ANY LEAKS.
21 | SYSTEM INTEGRATION (FINAL PRESSURE TEST, QC, DOCUMENTATION) | 1 | 900 | 900 | 6 | 150 | 900 | N/A | N/A | 900 | 0% | 0 | N/A | ONE (1) TECHNICIAN FOR SIX (6) HOURS FOR FINAL TESTING, QUALITY CHECKS, DOCUMENTATION, ETC.
22 | SYSTEM INTEGRATION (COMMISSIONING, START UP, FUNCTIONAL TEST) | 1 | 1600 | 1600 | 10.6667 | 150 | 1600 | N/A | N/A | 1600 | 0% | 0 | N/A | ONE (1) TECHNICIAN FOR ROUGHLY TEN (10) HOURS OF LABOR TO START THE SYSTEM UP, RUN IT THROUGH ITS PASSES, AND ENSURE EVERYTHING IS WORKING PROPERLY.
23 | SHOP SUPPLIES, SEALANTS, FASTENERS, CONSUMABLES. | 1 | 1959 | 1959 | 1 | 1959 | 1959 | N/A | N/A | 1959 | 0% | 0 | N/A | SHOP SUPPLIES, SEALANTS, FASTENERS, CONSUMABLES, ETC.
SUB-TOTAL |  |  |  | 43459 |  |  | 40175.5 |  |  | 38898.025 |  | 1277.475
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 43459 |  |  | 40175.5 |  |  | 38898.025 |  | 1277.475
| TOTAL PRESENTED |  |  | 43459
| TOTAL RESEARCHED RCV |  |  | 40175.5
| TOTAL ACV |  |  | 38898.025
| TOTAL DEPRECIATION |  |  | 1277.475