| LSG Matter #: | 724300.0059-00 - USIE REAL ESTATE HOLDINGS LLC | Did the loss exceed $75K? |  |
| --- | --- | --- | --- |
| Date Assigned: | 2/6/26 | If yes, date you informed Adj: |  |

| Date & Time | Contact (Party/Name) | Notes: power surge to hvac unit that caused tripping in the building. |
| --- | --- | --- |
|  |  | Cause of loss – Degree of damage – Costs required to achieve a pre-loss condition – Age, mfgr, model – Extent of damage – Addendum (Docs) – Vendor came out? – Has it been repaired yet?- How can I help? Am I missing anything? Anything else I should know? |
| 10min 5min | Adjuster (Ms. Kimberly Wiegert (Kim)) info+expd3b5b88c8325 @claims.sagesure.com #(850) 738-6450 | 2/6- emailed update 2/8- emailed update in proofing. |
| 15min | Insured Felice Lashute partnersltd@gmail.com (337) 984-9933 | 2/6- spoke on the phone No idea what happened. Lightning or power surge as they get those now and again. When the ac turns on the breaker tripps. Compressor needs changout. Age: 2017 |
| 5min 10min 15min | Vendor - Air Source One Cooling and Heating Inc. Mike Seymour Service completed by invoices@airsource1.net (337) 984-6541 | 2/6- I called, left a vm I called again spoke with front desk. Mike not avalible. Spoke to them about the unit and damages and that mike will callme back as he knows best on the damages and reapris. 2/6- Mike called back. Labor hours: 3.5 hours. 2 techs The problem was giving htem trouble in November. They iognosed it then and did not change it. Came back in jan to do the job. (shot to go. Electrical widings deterearating) Limped along and then shorted out. Age or strom not sure. They have crazy weather sometimes. Don’t remember no costs. Beginning of November. 9 years old not that old. November 6th was diagnosed. Jan 14 is when they changed it out. Ms. Hanna Bernard |
|  | Vendor - () @ # |  |
|  | Date of loss: 11/6/2025 | Weather look up: The only weather events in November is on 11/25/25 8 filtered strom cells. 3 days prior all good weather. |
|  |  | Nick: power anomaly event. No weather. No particular event. Windings was bad in novemer. As they ran the unit it got progressively worse. Power anomaly most anomaly. Consistant with a power anomaly. |