March 17, 2025

Ms. Olivia Williams

Travelers Insurance

P.O. Box 430

Buffalo, NY 14240-0430

| RE: | Insured: | BOURBON GRILL & MORE, LLC |
| --- | --- | --- |
|  | Claim Number: LSG Matter Number: Date of Loss: | DFZ8759 787200.11940-00 February 2, 2025 |

Dear Ms. Williams,

Thank you for choosing Loss Solutions Group as your equipment loss consultant. This report serves to provide an analysis of the above-referenced claim.

Assignment:

Loss Solutions Group was contacted by Ms. Olivia Williams of Travelers Insurance. The scope of this assignment was to address the extent of damage, salvage value, and repair / replacement costs associated with the insured’s damaged commercial kitchen exhaust system and hood reportedly related to a fire event.

Findings and Analysis:

Loss Solutions Group contacted the insured, Mr. Van Lu with Bourbon Grill & More, LLC (912-536-9770), to advise him of our involvement in reviewing this claimed event. During our conversation, Mr. Lu explained that on the second of February, their kitchen’s stove was left on maximum heat for a second while grabbing some ingredients, and when they came back to it the back wall had started on fire and traveled upwards. The fire was reportedly contained in the hood and fire was being sucked up and out of the building completely melting and destroying the hood, ductwork, the make-up air fan, and the exhaust fan on the roof.

Loss Solutions Group contacted the insured’s hood and exhaust fan vendor, T.M.G. Contracting (912-663-1227), and spoke with Mr. Thomas Canady to discuss the claimed event and their proposal. The vendor reported that due to the fire, damages were beyond repair and required a full replacement of the hood, ductwork, supply & exhaust fans. Mr. Canady went on to detail the parts needed for the job to help in breaking their costs down.

Loss Solutions Group contacted the insured’s fire suppression vendor, East Georgia Fire & Safety (912-690-2527), and spoke with Mr. Brian Persinger to discuss their quote. The vendor reported that the system would need a new four point six (4.6) gallon Pyrochem bottle/wet chemical, fusible fire links, and 9 new blow away fire suppression heads.

Scope of Damage

Loss Solutions Group submits that the insured reportedly sustained significant damage to their commercial kitchen exhaust system and hood reportedly related to a fire event.

Age & Condition

The insured reported that the affected equipment was around twenty-one (21) years old and in average condition at the time of the claimed event.

Reparability

Loss Solutions Group has reviewed the provided information and we have discussed the damage with the vendor involved. We submit that the proposed replacement path is warranted due to the higher extent of damage reportedly sustained during the claimed event.

Cost Analysis

Loss Solutions Group has researched the costs using alternate vendor resources, historical references, similar equipment costs, and vendor experience and we have discussed the pricing with the vendor involved. The following is a breakdown of the associated costs.

T.M.G CONSTRUCTING (912-663-1227) QUOTE TOTALING $33,000.00

Loss Solutions Group has reviewed the amount of $33,000.00 for the replacement of the insured’s commercial kitchen exhaust system and hood.

Included in the cost is an amount for a new exhaust fan, make up air fan, 430 stainless steel grease ductwork from the hood down below to the exhaust fan on the roof (This includes ductwork, elbows, duct tees, duct adapters, duct collars, and duct reducers.), support brackets, duct access door, an eight (8) foot wide kitchen hood, and other miscellaneous other smaller items. We submit these components are required to complete the replacement and the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the repairs. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

EAST GEORGIA FIRE & SAFETY (912-690-2527) QUOTE TOTALING $4,550.00

Loss Solutions Group has reviewed the amount of $4,550.00 for the replacement of the insured’s fire suppression agent and other misc. items.

Included in the cost is an amount for a four point six (4.6) gallon Pyrochem bottle/wet chemical, fusible fire links, and 9 new blow away fire suppression heads. We submit these components are required to complete the repair and the costs are fair and reasonable.

Loss Solutions Group has reviewed the labor costs for the vendor to diagnose the damage and to perform the repairs. We submit that these amounts are fair and reasonable to complete the scope of work as presented to us.

RCV

Loss Solutions Group submits an amount of $37,550.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

ACV

Loss Solutions Group submits an actual cash value (ACV) amount of $28,343.00 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment varied based on the equipment type. A further breakdown of this is available in the attached spreadsheet.

Salvage

Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

Summary:

Loss Solutions Group’s findings herein are based upon all information that was available at the time of this writing.  The opinions are based upon reviewed documentation, interviews, research, experience, historical references, training and education.

- The insured, Bourbon Grill & More LLC, claimed that their kitchen’s hood, supply and exhaust fan, grease ductwork, and fire suppression system was damaged/used up due to a fire event. A total amount of $37,550.00 was presented.

- The insured reported that the affected equipment was around twenty-one (21) years old and in average condition at the time of the claimed event.

- Loss Solutions Group has reviewed the provided information and we have discussed the damage with the vendor involved. We submit that the proposed replacement path is warranted due to the higher extent of damage reportedly sustained during the claimed event.

- Loss Solutions Group submits an amount of $37,550.00 (RCV) as being fair and reasonable to return the insured to a pre-loss condition. A further breakdown of the pricing is available in the attached spreadsheet.

- Loss Solutions Group submits an actual cash value (ACV) amount of $28,343.00 based on linear age depreciation of the materials only. We estimate the average life expectancy of the equipment varied based on the equipment type. A further breakdown of this is available in the attached spreadsheet.

- Loss Solutions Group submits that there is little to no salvage value associated with this claimed event.

If you have any questions or if you need any additional information, please feel free to contact Tanner Beuret at (866) 899-8756 ext. 755, or via email at tbeuret@losssolutionsgroup.com.  Team Leader Nick Ramos can be reached at (866) 899-8756 ext. 724, or via email at nramos@losssolutionsgroup.com.

Best regards,

| Tanner Beuret Technical Consultant Loss Solutions Group, LLC |  |
| --- | --- |