| LSG Matter #: | 787200.11940-00 - BOURBON GRILL & MORE, LLC | Did the loss exceed $75K? |  |
| --- | --- | --- | --- |
| Date Assigned: | 3/5/2025 | If yes, date you informed Adj: |  |

| Date & Time | Contact (Party/Name) | Notes: Exhaust hood fire |
| --- | --- | --- |
|  |  | Cause of loss – Degree of damage – Costs required to achieve a pre-loss condition – Age, mfgr, model – Extent of damage – Addendum (Docs) – Vendor came out? – Has it been repaired yet?- How can I help? Am I missing anything? Anything else I should know? |
| 5min 5min 5min | Adjuster (Ms. Olivia Williams) @ oawillia@travelers.com B#(804) 934-4773 | 3/5- email update sent to her 3/12- email update. Waiting on vendor’s answers. 3/17- email update sent out. In proofing. |
| 10min call | Insured (Van Lu) @BOURBONGRILL101 @GMAIL.COM C#(912) 536-9770 | 3/5- called Van, Kitchen Stove turned on to MAX, we walked away for a sec, back wall started on fire and then travled up. Contained within the hood. TMG: nothing yet has been done. Insured is waiting for the initial $23k. He met with him last week. Chinese restaurant. Not open yet until this is fixed. Age: 21 years old Brant: Captive air. Motor, entire thing melted so, they don’t know the exact details. Maintenance guy said possibly 2hp motor. Melted data plate. |
| 5min call 10min email 3/11- 5min 3/13/14 5min 3/14- 10 min call | Vendor - T.M.G. Contracting (Thomas Canady) President @tmghoods@gmail.com B#(912) 663-1227 | 3/5- Called Thomas, spoke for a few secs. He said to send him an email with my Qs. Sending email with my Qs 3/11- emailed him again asking for an update. 3/13- he emailed me one item. Didn’t answer my questions. I emailed him back on the 14th 3/14- Captive air exhaust fan econ air. Replaced with the same thing. (they put it in before the walls were built. He will need to cut it in half to install. The hood will need to be cut in half 16 feet. New hood comes in 2 pieses and bolts together. MN: 16 foot captive air. Man hours: 2 weeks, 3 people Craine needed. Fans on the roof. New disconnects and controls. – 3phase 20 amp. Makeup supply fan in the hood. Exhaust fan on the roof. |
| 3/14- 8min call 2min notes | Vendor – East Georgia Fire & safety (hood fire suppression) (912-690-2527) @eastgeorgiafire@gmail.com Brian Persinger. | 3/14- Brian Persinger. Pyrochem system. Johnson controls. 4.6 gallon system. 1 bottle. Chem: wet chemical. Parts: fusable link, the nozles have blow away heads on them. 9 of them. Man hours: 8 hours, + 1for final testing. |