## Sheet1
INSURED: BOURBON GRILL & MORE, LLC
LSG MATTER #: 787200.11940-00
CLAIM #: DFZ8759
DATE OF LOSS: 2/2/2025
CAUSE OF LOSS: FIRE
T.M.G CONSTRUCTING (912-663-1227) QUOTE TOTALING $33,000.00
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | REMOVE AND REPLACE BURNT EXHAUST FAN, DUCTWORK, AND HOOD | 1 | 33000 | 33000 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | THIS COST WAS PROVIDED TO US IN A LUMP SUM COST. WITH HELP FROM THE VENDOR WE WERE ABLE TO BREAK THIS COST DOWN AS FOLLOWS.
2 | GREASE DUCT | 0 | 0 | 0 | 2 | 252 | 504 | 21 | 50 | 292.32 | 42% | 211.68 | AVERAGE | ROUND 20 GAUGE 430 STAINLESS STEEL DUCTWORK GOING FROM HOOD UP TO EXHAUST FAN ON ROOF. ROUGHLY 90 INCHES LONG
3 | EXHAUST FAN (ECON-AIR) | 0 | 0 | 0 | 1 | 3800 | 3800 | 21 | 20 | 950 | 75% | 2850 | AVERAGE | EXHAUST FAN (ECON-AIR) MODEL# EADU240H.
4 | MAKE UP AIR FAN | 0 | 0 | 0 | 1 | 2400 | 2400 | 21 | 20 | 600 | 75% | 1800 | AVERAGE | MAKE UP AIR FAN MODEL# EA-A2-20D 1.5 HORSEPOWER MOTOR.
5 | SINGLE WALL DUCTING (430 STAINLESS STEEL) | 0 | 0 | 0 | 1 | 610 | 610 | 21 | 50 | 353.8 | 42% | 256.2 | AVERAGE | 14 INCH ADAPTER, 90 DEGREE ELBOW, DUCT TEE, DUCT ADAPTER, FLANGE, ADJUSTABLE COLLAR, ETC.
6 | DUCT SUPPORT BRACKET KIT | 0 | 0 | 0 | 2 | 28 | 56 | 21 | 50 | 32.48 | 42% | 23.52 | AVERAGE | SUPPORT BRACKETS ("V" CLAMP STYLE)
7 | DUCT ACCESS DOOR WITH HANDLE AND GREASE DAM | 0 | 0 | 0 | 2 | 20 | 40 | 21 | 50 | 23.2 | 42% | 16.8 | AVERAGE | ACCESS DOOR TO GREASE DUCT
8 | 3M FIRE BARRIER 2000 PLUS SILICONE | 0 | 0 | 0 | 4 | 10 | 40 | 21 | 50 | 23.2 | 42% | 16.8 | AVERAGE | FIRE BARRIER USED TO SEAL DUCT JOINTS.
9 | 8 FOOT HOOD | 0 | 0 | 0 | 1 | 2500 | 2500 | 21 | 50 | 1450 | 42% | 1050 | AVERAGE | KITCHEN HOOD WITH STAINLESS WALL PANELS
10 | LABOR HOURS | 0 | 0 | 0 | 240 | 90 | 21600 | N/A | N/A | 21600 | 0% | 0 | N/A | LABOR HOURS FOR 3 WORKERS FOR 2 WEEKS.
11 | CRAIN | 0 | 0 | 0 | 1 | 500 | 500 | N/A | N/A | 500 | 0% | 0 | N/A | CRAIN TO LIFT OFF THE DAMAGED UNIT AND LIFT ON THE NEW UNIT TO THE ROOF.
12 | ELECTRICAL DISCONNECT AND WHIP | 0 | 0 | 0 | 1 | 350 | 350 | 21 | 20 | 87.5 | 75% | 262.5 | AVERAGE | NEW 20 AMP ELECTRICAL DISCONNECT WITH ELECTRICAL WHIP
13 | DUCT WRAPPING | 0 | 0 | 0 | 2 | 300 | 600 | 21 | 50 | 348 | 42% | 252 | AVERAGE | FIRE BARRIER DUCT WRAPPING MATERIALS
SUB-TOTAL |  |  |  | 33000 |  |  | 33000 |  |  | 26260.5 |  | 6739.5
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 33000 |  |  | 33000 |  |  | 26260.5 |  | 6739.5
37550
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | PYROCHEM FIRE SUPPRESSION SYSTEM | 1 | 3525 | 3525 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | THIS COST WAS NOT BROKEN DOWN. WITH HELP FROM THE VENDOR WE WERE ABLE TO GATHER MORE DETAILS AS FOLLOWS.
2 | 4.6 GALLON PYRO-CHEM KITCHEN PCL-460 AGENT | 0 | 0 | 0 | 1 | 2185 | 2185 | 21 | 30 | 655.5 | 70% | 1529.5 | AVERAGE | PYRO-CHEM 4.6 GALLON FIRE SUPPRESSION AGENT. WITH ADDED VENDOR MARK UP ON MATERIALS.
3 | FIRE SPRINKLER HEADS | 0 | 0 | 0 | 9 | 80 | 720 | 21 | 30 | 216 | 70% | 504 | AVERAGE | NINE FIRE SPRINKLER HEADS. (BLOW AWAY HEADS STYLE)
4 | FIRE FUSIBLE LINKS | 0 | 0 | 0 | 2 | 10 | 20 | 21 | 30 | 6 | 70% | 14 | AVERAGE | TWO FIRE FUSIBLE LINKS.
5 | NEW PIPING FOR NEW HOOD | 0 | 0 | 0 | 1 | 600 | 600 | 21 | 30 | 180 | 70% | 420 | AVERAGE | NEW PIPING WORK TO BE DONE TO FIT NEW HOOD.
6 | LABOR | 1 | 850 | 850 | 10 | 85 | 850 | N/A | N/A | 850 | 0% | 0 | N/A | TEN HOURS FOR ONE TECHNICIAN TO PERFORM THE INSTALLATION.
7 | INSPECTION | 1 | 175 | 175 | 1 | 175 | 175 | N/A | N/A | 175 | 0% | 0 | N/A | FIRE SAFETY INSPECTION WITH FIRE DEPARTMENT.
SUB-TOTAL |  |  |  | 4550 |  |  | 4550 |  |  | 2082.5 |  | 2467.5
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 4550 |  |  | 4550 |  |  | 2082.5 |  | 2467.5
| TOTAL PRESENTED |  |  | 37550
| TOTAL RESEARCHED RCV |  |  | 37550
| TOTAL ACV |  |  | 28343
| TOTAL DEPRECIATION |  |  | 9207