## Sheet1
INSURED: CASTLE HILL SEWER ASSOCIATION
LSG MATTER #: 787200.12431-00
CLAIM #: FQD0768
DATE OF LOSS: 8/20/2025
CAUSE OF LOSS: FIRE
WELD POWER SERVICE COMPANY, INC. (800-288-6016) ESTIMATE # 144690575
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | 41KW, 120/208V, 3PH, 60HZ, LP GAS FUEL ENGINE DRIVEN GEN-SET WITH LEVEL 2 SOUND AND WEATHER PROTECTED ALUMINUM ENCLOSURE | 1 | 52479.59 | 52479.59 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | GENERATOR REPLACEMENT JOB TO REMOVE EXISTING UNIT AND INSTALL A NEW GILLETTE BRAND GENERATOR. MN: SP-410-60 (41 KILOWATT, 120/208 VOLT, 3 PHASES, 60 HERTZ, RAN ON LIQUEFIED PETROLEUM GAS, WITH A LEVEL 2 SOUND AND WEATHER PROTECTIVE HOUSING. THIS COST WAS PROVIDED TO US IN A LUMP SUM COST, WITH HELP FROM THE VENDOR WE WERE ABLE TO BREAK THIS COST DOWN AS FOLLOWS.
2 | INSTALLATION LABOR | 0 | 0 | 0 | 16 | 200 | 3200 | N/A | N/A | 3200 | 0% | 0 | N/A | ONE TECHNICIAN FOR TWO (2) DAYS OF WORK
3 | ELECTRICAL WORK TO BE PERFORMED BY ELECTRICAL SUBCONTRACTOR | 0 | 0 | 0 | 16 | 200 | 3200 | N/A | N/A | 3200 | 0% | 0 | N/A | ONE ELECTRICIAN FOR TWO (2) DAYS OF WORK
4 | GENERATOR COST | 0 | 0 | 0 | 1 | 30000 | 30000 | 20 | 20 | 7500 | 75% | 22500 | AVERAGE | GILLETTE BRAND SP-410 COMMERCIAL GAS GENERATOR 41KW, 3PH, 120/208VOLT, 60HZ WITH A VENDOR MARK UP ON MATERIALS.
5 | WIRE | 0 | 0 | 0 | 1 | 9500 | 9500 | 20 | 20 | 2375 | 75% | 7125 | AVERAGE | ROUGHLY THREE HUNDRED (300) FEET OF HEAVY GAUGE 2/0 AWG WIRE. A TOTAL OF FIVE (5) LINES WERE NEEDED FOR THE THREE (3) PHASE STYLE APPLICATION. WITH A VENDOR MARK UP ON MATERIALS.
6 | OTHER ELECTRICAL EQUIPMENT | 0 | 0 | 0 | 1 | 1329.59 | 1329.59 | 20 | 20 | 332.3975 | 75% | 997.1925 | AVERAGE | ONE HUNDRED FIFTY (150) AMP THREE (3) POLE THERMAL CIRCUIT BREAKER, AND OTHER MISCELLANEOUS WIRE AND WIRE CONNECTORS.
7 | CRANE COST | 0 | 0 | 0 | 1 | 2000 | 2000 | N/A | N/A | 2000 | 0% | 0 | N/A | THE COST FOR A CRANE TO REMOVE THE EXISTING UNIT AND PLACE THE NEW UNIT.
8 | FREIGHT | 0 | 0 | 0 | 1 | 2750 | 2750 | N/A | N/A | 2750 | 0% | 0 | N/A | FREIGHT CHARGES TO SHIP THE UNIT.
9 | DISPOSAL | 0 | 0 | 0 | 1 | 500 | 500 | N/A | N/A | 500 | 0% | 0 | N/A | DISPOSAL OF THE ORIGINAL GEN-SET.
SUB-TOTAL |  |  |  | 52479.59 |  |  | 52479.59 |  |  | 21857.3975 |  | 30622.1925
SALES TAX (MA: 6.25%) |  |  |  | 3279.97 |  |  | 3279.97 |  |  | 1366.0855 |  | 1913.8845
TOTAL |  |  |  | 55759.56 |  |  | 55759.56 |  |  | 23223.483 |  | 32536.077
WELD POWER SERVICE COMPANY, INC. (800-288-6016) ESTIMATE # 144469502
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | WELD POWER LABOR TO SET UP/TEST & BREAKDOWN TEMP GENERATOR | 8 | 185 | 1480 | 8 | 185 | 1480 | N/A | N/A | 1480 | 0% | 0 | N/A | LABOR FOR WELD POWER TO DISCONNECT THE ORIGINAL GENERATOR, PLACE AND CONNECT THE TEMPORARY GENERATOR, TEST TO ENSURE IT IS WORKING PROPERLY, AND LATER DISMANTLE THE TEMPORARY SETUP ONCE THE MAIN GENERATOR HAS BEEN INSTALLED.
2 | DELIVERY & PICKUP FEE - (ONE TIME CHARGE) | 1 | 600 | 600 | 1 | 600 | 600 | N/A | N/A | 600 | 0% | 0 | N/A | A ONE TIME DELIVERY AND PICK UP FEE
3 | ELECTRICAL SUBCONTRACTOR CONNECT TEMP GEN. | 1 | 2678 | 2678 | 1 | 2678 | 2678 | N/A | N/A | 2678 | 0% | 0 | N/A | THE COST FOR AN ELECTRICAL SUBCONTRACTOR TO PERFORM THE ELECTRICAL CONNECTIONS FOR THE TEMP GENERATOR.
4 | RENTAL TEMP GENERATOR - MONTHLY RATE | 1 | 3300 | 3300 | 1 | 3300 | 3300 | N/A | N/A | 3300 | 0% | 0 | N/A | THE COST OF RENTING THE TEMPERARY GENERATOR FOR ONE MONTH. THIS IS A MONTHLY RATE.
5 | RENTAL CABLE - 50' RUN | 5 | 180 | 900 | 5 | 180 | 900 | N/A | N/A | 900 | 0% | 0 | N/A | THE COST FOR RENTING FIVE (5) HEAVY GAUGE CABLES USED TO CONNECT THE TEMPERARY GENERATOR. THIS IS A MONTHLY RATE.
6 | RENTAL PIGTAIL | 5 | 45 | 225 | 5 | 45 | 225 | N/A | N/A | 225 | 0% | 0 | N/A | THE COST FOR RENTING FIVE (5) HEAVY GAUGE PIGTAILS FOR THE TEMP GENERATOR. THIS IS A MONTHLY RATE.
7 | ELECTRICAL SUPPLY KIT - LEVEL 1 | 1 | 50 | 50 | 1 | 50 | 50 | N/A | N/A | 50 | 0% | 0 | N/A | THE COST FOR ONE ELECTRICAL SUPPLY KIT. THIS INCLUDES THINGS LIKE ELECTRICAL CONNECTORS, CONNECTION WIRE, WIRE LUBRICANT, ELECTRICAL TAPE, ETC.
SUB-TOTAL |  |  |  | 9233 |  |  | 9233 |  |  | 9233 |  | 0
SALES TAX |  |  |  | 279.69 |  |  | 279.6875 |  |  | 279.6875 |  | 0
TOTAL |  |  |  | 9512.69 |  |  | 9512.6875 |  |  | 9512.6875 |  | 0
WELD POWER SERVICE COMPANY, INC. (800-288-6016) MONTHLY RATE FOR THE TEMP GENERATOR AFTER INITIAL CONNECTION, GIVEN TO US BY KEVIN GEARY IN AN EMAIL TO BOB RECHNER ON 9/16/2025 AND ON ESTIMATE #144469502
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | COST FOR RENTAL GENERATOR FOR AN ADDITIONAL MONTH AFTER THE FIRST MONTH. | 0 | 0 | 0 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | THE COST TO RENT THE TEMP GENERATOR FOR AN ADDITIONAL MONTH AFTER THE FIRST MONTH WILL BE THE THREE LINE ITEMS ON THE QUOTE LABELED RENTAL.
2 | RENTAL TEMP GENERATOR - MONTHLY RATE | 1 | 3300 | 3300 | 1 | 3300 | 3300 | N/A | N/A | 3300 | 0% | 0 | N/A | THE COST OF RENTING THE TEMPERARY GENERATOR FOR ONE MONTH. THIS IS A MONTHLY RATE.
3 | RENTAL CABLE - 50' RUN | 5 | 180 | 900 | 5 | 180 | 900 | N/A | N/A | 900 | 0% | 0 | N/A | THE COST FOR RENTING FIVE (5) HEAVY GAUGE CABLES USED TO CONNECT THE TEMPERARY GENERATOR. THIS IS A MONTHLY RATE.
4 | RENTAL PIGTAIL | 5 | 45 | 225 | 5 | 45 | 225 | N/A | N/A | 225 | 0% | 0 | N/A | THE COST FOR RENTING FIVE (5) HEAVY GAUGE PIGTAILS FOR THE TEMP GENERATOR. THIS IS A MONTHLY RATE.
SUB-TOTAL |  |  |  | 4425 |  |  | 4425 |  |  | 4425 |  | 0
SALES TAX |  |  |  | 279.69 |  |  | 279.69 |  |  | 279.69 |  | 0
TOTAL |  |  |  | 4704.69 |  |  | 4704.69 |  |  | 4704.69 |  | 0
| TOTAL PRESENTED |  |  | 65272.25
| TOTAL RESEARCHED RCV |  |  | 65272.2475
| TOTAL ACV |  |  | 32736.1705
| TOTAL DEPRECIATION |  |  | 32536.077
| MONTHLY RATE FOR A TEMP GENERATOR AFTER INICIAL CONNECTION |  |  | 4704.69