## Sheet1
INSURED: JOHN KWASNESKI
LSG MATTER #: 426600.4046-00
CLAIM #: 85-00721214
DATE OF LOSS: 1/2/2025 | [5 empty] | COLOR DENOTES PRICING DISCREPANCY
CAUSE OF LOSS: SMOKE / SOOT
RESTANO HEATING, COOLING, & PLUMBING (724-327-7137) ESTIMATE # 63208415
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | HAVC SYSTEM REPLACEMENT | 1 | 21890 | 21890 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | VENDOR PRESENTED COST AS LUMP SUM
2 | FURNACE | 0 | 0 | 0 | 1 | 1650 | 1650 | 44 | 20 | 412.5 | 75% | 1237.5 | AVERAGE | BASIC 80% SINGLE STAGE GAS FURNACE
3 | CONDENSER | 0 | 0 | 0 | 1 | 2300 | 2300 | 44 | 20 | 575 | 75% | 1725 | AVERAGE | TWO (2) TON 14.3 SEER SINGLE STAGE AIR CONDITIONER CONDENSING UNIT
4 | EVAPORATOR COIL | 0 | 0 | 0 | 1 | 800 | 800 | 44 | 20 | 200 | 75% | 600 | AVERAGE | TWO (2) TON VERTICAL EVAPERATOR COIL
5 | THERMOSTAT | 0 | 0 | 0 | 1 | 150 | 150 | 44 | 20 | 37.5 | 75% | 112.5 | AVERAGE | BASIC WIFI ENABLED PROGRAMMABLE THERMOSTAT.
6 | COPPER | 0 | 0 | 0 | 1 | 380 | 380 | 44 | 20 | 95 | 75% | 285 | AVERAGE | COPPER TUBING TO BE RAN FROM CONDENSER TO EVAPERATOR ROUGHLY FIFTY (50) FEET.
7 | ELECTRICAL COMPONENTS | 0 | 0 | 0 | 1 | 750 | 750 | 44 | 20 | 187.5 | 75% | 562.5 | AVERAGE | ELECTRICAL DISCONNECT, FUSES, LOW VOLTAGE WIRING FOR THE THERMOSTAT.
8 | MISC. MATERIALS FOR EQUIPMENT | 0 | 0 | 0 | 1 | 750 | 750 | 44 | 20 | 187.5 | 75% | 562.5 | AVERAGE | TORCH KIT, PVC, CONNECTORS, HARDWARE, FILTER DRIER, REFRIGERANT, ETC.
9 | DUCT RUNS | 0 | 0 | 0 | 11 | 200 | 2200 | 44 | 20 | 550 | 75% | 1650 | AVERAGE | WE ESTIMATE THAT THE TWO (2) BED, ONE (1) BATH, CONDO HAS ROUGHLY ELEVEN (11) DUCT RUNS IN IT.
10 | GRILLS AND RETURNS | 0 | 0 | 0 | 11 | 50 | 550 | 44 | 20 | 137.5 | 75% | 412.5 | AVERAGE | WE ESTIMATE THAT THE TWO (2) BED, ONE (1) BATH, CONDO HAS ROUGHLY ELEVEN (11) GRILLS IN IT WITH AT LEAST TWO RETURNS.
11 | TRUNK DUCTING | 0 | 0 | 0 | 1 | 1000 | 1000 | 44 | 20 | 250 | 75% | 750 | AVERAGE | TRUNK DUCTING TO BE INSTALLED AS OLD DUCTING WAS REPORTEDLY DAMMAGED BEYONE REPAIR.
12 | PLENUMS | 0 | 0 | 0 | 2 | 200 | 400 | 44 | 20 | 100 | 75% | 300 | AVERAGE | TWO (2) PLENUMS, ONE SUPPLY AIR AND THE OTHER FOR RETURN AIR.
13 | MISC. DUCTING MATERIALS | 0 | 0 | 0 | 1 | 530 | 530 | 44 | 20 | 132.5 | 75% | 397.5 | AVERAGE | SLIPS/DRIVES, SEALANT, INSULATION, HARDWARE, ETC.
14 | SURGE PROTECTOR | 0 | 0 | 0 | 0 | 260 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | MATERIALS AND LABOR TO INTALL SURGE PROTECTOR NOT PART OF PRE-LOSS
15 | AIR CLEANER | 0 | 0 | 0 | 0 | 1200 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | MATERIALS AND LABOR TO INTALL AIR CLEANER NOT PART OF PRE-LOSS
16 | TRAVEL EXPENSES | 0 | 0 | 0 | 1 | 400 | 400 | N/A | N/A | 400 | 0% | 0 | N/A | TRIP/FUEL/FREIGHT CHARGES
17 | PERMIT FEE | 0 | 0 | 0 | 1 | 350 | 350 | N/A | N/A | 350 | 0% | 0 | N/A | PERMIT FEES
18 | DISPOSAL | 0 | 0 | 0 | 1 | 300 | 300 | N/A | N/A | 300 | 0% | 0 | N/A | REMOVAL AND DISPOSAL OF THE OLD EQUIPMENT AND DUCTING.
19 | LABOR | 0 | 0 | 0 | 72 | 110 | 7920 | N/A | N/A | 7920 | 0% | 0 | N/A | LABOR HOURS FOR ROUGHLY THREE TECHNICIANS FOR THREE FULL DAYS OF WORK.
SUB-TOTAL |  |  |  | 21890 |  |  | 20430 |  |  | 11835 |  | 8595
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 21890 |  |  | 20430 |  |  | 11835 |  | 8595
| TOTAL PRESENTED |  |  | 21890
| TOTAL RESEARCHED RCV |  |  | 20430
| TOTAL ACV |  |  | 11835
| TOTAL DEPRECIATION |  |  | 8595