## Sheet1
INSURED: MANDELBAUM THIRD GENERATION LP
LSG MATTER #: 787200.12479-00
CLAIM #: FQD0829
DATE OF LOSS: 7/14/2025 | [5 empty] | COLOR DENOTES PRICING DISCREPANCY
CAUSE OF LOSS: LIGHTNING STRIKE
AIR TROUP HEATING COOLING PLUMBING ELECTRICAL (800-545-1020) INVOICE # 11555228
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | LABOR HOURS | 1 | 827 | 827 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | LABOR HOURS TO TROUBLESHOOT FIVE (5) DAMMAGED HVAC UNITS. (4 UNITS IN BUILDING 3 AND 1 UNIT IN BUILDING 4) THIS COST WAS PRESENTED IN A LUMP SUM AMOUNT. FURTHER DISCRIPTIONS OF HOW THIS COST WAS CALCULATED IS LOCATED IN THE DISCRIPTION SECTION.
2 | FIRST LABOR HOUR | 0 | 0 | 0 | 1 | 287 | 287 | N/A | N/A | 287 | 0% | 0 | N/A | LABOR FOR THE FIRST CALL OUT AT THE HIGHER RATE
3 | ADDITIONAL 1/2 HOUR AFTER THE FIRST HOUR | 0 | 0 | 0 | 5 | 108 | 540 | N/A | N/A | 540 | 0% | 0 | N/A | 2.5 HOURS BROKEN UP IN 1/2 HOUR INCRIMENTS. AT A $108 RATE.
SUB-TOTAL |  |  |  | 827 |  |  | 827 |  |  | 827 |  | 0
SALES TAX |  |  |  | 54.79 |  |  | 54.79 |  |  | 54.79 |  | 0
TOTAL |  |  |  | 881.79 |  |  | 881.79 |  |  | 881.79 |  | 0
LIBERTY DOOR & AWNING (732-286-3667) INVOICE # 038570
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | LIFTMASTER GARAGE DOOR OPENER AND INSTALL | 9 | 899 | 8091 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | NINE (9) REPLACEMENT LIFTMASTER GARAGE DOOR OPENERS. (87504-267) ULTRA-QUIET BELT DRIVE SMART OPENER WITH SECURITY CAMERA AND REMOTE WITH INSTALLATION.
2 | LIFTMASTER GARAGE DOOR OPENER | 0 | 0 | 0 | 9 | 749 | 6741 | 3 | 20 | 5729.85 | 15% | 1011.15 | AVERAGE | NINE (9) REPLACEMENT LIFTMASTER GARAGE DOOR OPENERS. (87504-267) ULTRA-QUIET BELT DRIVE SMART OPENER WITH SECURITY CAMERA AND REMOTE. WITH A SLIGHT MARK UP ON MATERIALS.
3 | LABOR TO INSTALL | 0 | 0 | 0 | 13.5 | 100 | 1350 | N/A | N/A | 1350 | 0% | 0 | N/A | ONE AND A HALF HOURS TO INSTALL EACH UNIT.
SUB-TOTAL |  |  |  | 8091 |  |  | 8091 |  |  | 7079.85 |  | 1011.15
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 8091 |  |  | 8091 |  |  | 7079.85 |  | 1011.15
LIBERTY DOOR & AWNING (732-286-3667) INVOICE # 038980
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | LIFTMASTER GARAGE DOOR OPENER AND INSTALL | 1 | 899 | 899 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | ONE (1) REPLACEMENT LIFTMASTER GARAGE DOOR OPENERS. (87504-267) ULTRA-QUIET BELT DRIVE SMART OPENER WITH SECURITY CAMERA AND REMOTE WITH INSTALLATION.
2 | LIFTMASTER GARAGE DOOR OPENER | 0 | 0 | 0 | 1 | 749 | 749 |  | 20 | 674.1 | 10% | 74.9 | AVERAGE | ONE (1) REPLACEMENT LIFTMASTER GARAGE DOOR OPENER. (87504-267) ULTRA-QUIET BELT DRIVE SMART OPENER WITH SECURITY CAMERA AND REMOTE. WITH A SLIGHT MARK UP ON MATERIALS.
3 | LABOR TO INSTALL | 0 | 0 | 0 | 1.5 | 100 | 150 | N/A | N/A | 150 | 0% | 0 | N/A | ONE AND A HALF HOURS TO INSTALL 1 UNIT.
SUB-TOTAL |  |  |  | 899 |  |  | 899 |  |  | 824.1 |  | 74.9
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 899 |  |  | 899 |  |  | 824.1 |  | 74.9
PLANNED SECURITY SERVICES (888-706-8600) INVOICE # S104526
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | FIRE WATCH PROVIDED ON 7/3 AND 7/4 | 16 | 55 | 880 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | TOTAL OF SIXTEEN (16) HOURS FOR TWO SECURITY GAURDS TO SECURE THE NEIBORHOOD UNTIL POWER WAS RESTORED ON 7/3 AND 7/4. WORK PERFORMED NOT RELATED TO THIS CLAIMED EVENT.
SUB-TOTAL |  |  |  | 880 |  |  | 0 |  |  | 0 |  | 0
SALES TAX |  |  |  | 58.3 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 938.3 |  |  | 0 |  |  | 0 |  | 0
PLANNED SECURITY SERVICES (888-706-8600) INVOICE # S104674
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | FIRE WATCH FOR 7/21 AND 7/26 | 1 | 1650 | 1650 | 30 | 55 | 1650 | N/A | N/A | 1650 | 0% | 0 | N/A | THIRTY (30) HOURS OF FIRE WATCH WORK FROM 7/21 TO 7/26
SUB-TOTAL |  |  |  | 1650 |  |  | 1650 |  |  | 1650 |  | 0
SALES TAX |  |  |  | 109.31 |  |  | 109.31 |  |  | 109.31 |  | 0
TOTAL |  |  |  | 1759.31 |  |  | 1759.31 |  |  | 1759.31 |  | 0
PLANNED SECURITY SERVICES (888-706-8600) INVOICE # S104675
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | FIRE WATCH FOR 7/27 AND 7/28 | 1 | 825 | 825 | 15 | 55 | 825 | N/A | N/A | 825 | 0% | 0 | N/A | FIFTEEN (15) HOURS OF FIRE WATCH WORK ON 7/27 AND 7/28
SUB-TOTAL |  |  |  | 825 |  |  | 825 |  |  | 825 |  | 0
SALES TAX |  |  |  | 54.66 |  |  | 54.66 |  |  | 54.66 |  | 3.75e-07
TOTAL |  |  |  | 879.66 |  |  | 879.66 |  |  | 879.66 |  | 3.75e-07
FERGUSON ENTERPRISES LLC (732-905-1000) ORDER CONFIRMATION # 3356156
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | TWO (2) INDOOR CONTROLLER BOARD | 2 | 192.5 | 385 | 2 | 192.5 | 385 | 3 | 20 | 327.25 | 15% | 57.75 | AVERAGE | TWO (2) INDOOR CONTROLLER BOARD FOR A MITSUBISHI CEILING CASSETTE STYLE UNIT.
2 | TWO (2) PCA BOARDS | 2 | 197.78 | 395.56 | 2 | 197.78 | 395.56 | 3 | 20 | 336.226 | 15% | 59.334 | AVERAGE | TWO (2) PRINTED CIRCUIT ASSEMBLY (PCA) BOARDS.
3 | FREIGHT | 1 | 19.99 | 19.99 | 1 | 19.99 | 19.99 | N/A | N/A | 19.99 | 0% | 0 | N/A | FREIGHT FOR THE FOUR (4) HVAC PARTS.
SUB-TOTAL |  |  |  | 800.55 |  |  | 800.55 |  |  | 683.466 |  | 117.084
SALES TAX |  |  |  | 53.04 |  |  | 53.04 |  |  | 45.2827 |  | 7.7573
TOTAL |  |  |  | 853.59 |  |  | 853.59 |  |  | 728.7487 |  | 124.8413
FERGUSON ENTERPRISES LLC (732-905-1000) INVOICE # 3133787
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | NCP BLOWER MOTOR | 4 | 292.19 | 1168.76 | 4 | 292.19 | 1168.76 | 3 | 20 | 993.446 | 15% | 175.314 | AVERAGE | FOUR (4) NATIONAL COMFORT PRODUCTS (NCP) BLOWER MOTORS
2 | 1/2 HP INDOOR BLOWER MOTOR | 1 | 340.98 | 340.98 | 1 | 340.98 | 340.98 | 3 | 20 | 289.833 | 15% | 51.147 | AVERAGE | A 1/2 HORSEPOWER BLOWER MOTOR
3 | COMPRESSOR KIT FOR 2 TON R410A SYSTEM | 1 | 422.34 | 422.34 | 1 | 422.34 | 422.34 | 3 | 20 | 358.989 | 15% | 63.351 | AVERAGE | A 2 TON COMPRESSOR KIT FOR A R410A SYSTEM.
4 | COMPRESSOR KIT FOR 1.5 TON R410A SYSTEM | 1 | 402.27 | 402.27 | 1 | 402.27 | 402.27 | 3 | 20 | 341.9295 | 15% | 60.3405 | AVERAGE | A 1.5 TON COMPRESSOR KIT FOR A R410A SYSTEM.
SUB-TOTAL |  |  |  | 2334.35 |  |  | 2334.35 |  |  | 1984.1975 |  | 350.1525
SALES TAX |  |  |  | 154.65 |  |  | 154.65 |  |  | 131.4525 |  | 23.1975
TOTAL |  |  |  | 2489 |  |  | 2489 |  |  | 2115.65 |  | 373.35
FERGUSON ENTERPRISES LLC (732-905-1000) INVOICE # 3248921
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | 24VOLT TRANSFORMER | 1 | 34.933 | 34.933 | 1 | 34.933 | 34.933 | 3 | 20 | 29.693 | 15% | 5.24 | AVERAGE | A 24 VOLT ELECTRICAL TRANSFORMER.
2 | 1/4 HP CONDENSER MOTOR 1800 RPM | 1 | 534.859 | 534.859 | 1 | 534.859 | 534.859 | 3 | 20 | 454.6302 | 15% | 80.2289 | AVERAGE | A 1/4 HORSEPOWER CONDENSER MOTOR WITH 1800 RPM
3 | CONTROL BOARD FOR A NCP UNIT | 1 | 276.09 | 276.09 | 1 | 276.09 | 276.09 | 3 | 20 | 234.6765 | 15% | 41.4135 | AVERAGE | CONTROLLER BOARD FOR NATIONAL COMFORT PRODUCTS UNIT.
4 | CONTACTOR | 1 | 24 | 24 | 1 | 24 | 24 | 3 | 20 | 20.4 | 15% | 3.6 | AVERAGE | ELECTRICAL CONTACTOR.
SUB-TOTAL |  |  |  | 869.882 |  |  | 869.882 |  |  | 739.3997 |  | 130.4823
SALES TAX |  |  |  | 57.62 |  |  | 57.62 |  |  | 48.977 |  | 8.643
TOTAL |  |  |  | 927.502 |  |  | 927.502 |  |  | 788.3767 |  | 139.1253
FERGUSON ENTERPRISES LLC (732-905-1000) INVOICE # 3256283
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | INDOOR CONTROLLER BOARDS | 5 | 257.34 | 1286.7 | 5 | 257.34 | 1286.7 | 3 | 20 | 1093.695 | 15% | 193.005 | AVERAGE | FIVE (5) INDOOR CONTROLLER BOARD FOR A MITSUBISHI CEILING CASSETTE STYLE UNIT.
2 | FREIGHT | 1 | 14.99 | 14.99 | 1 | 14.99 | 14.99 | N/A | N/A | 14.99 | 0% | 0 | N/A | FREIGHT FOR THE BOARD'S SHIPPING.
SUB-TOTAL |  |  |  | 1301.69 |  |  | 1301.69 |  |  | 1108.685 |  | 193.005
SALES TAX |  |  |  | 86.23 |  |  | 86.23 |  |  | 73.4445 |  | 12.7855
TOTAL |  |  |  | 1387.92 |  |  | 1387.92 |  |  | 1182.1295 |  | 205.7905
PEREIRA ELECTRICAL CONTRACTING, INC. (732-549-3790) INVOICE # 8653-S/C2
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | PROVIDED THE LABOR AND MATERIALS TO REPLACE DEVICES IN BUILDINGS 1, 2 & 6 | 1 | 5144.21 | 5144.21 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | PROVIDED THE LABOR AND MATERIALS TO REPLACE DEVICES DUE TO STROM IN BUILDINGS 1, 2, & 6. THIS COST WAS PROVIDED WITH NO DETAILS. UPON REQUEST, WE OBTAINED A BREAKDOWN OF COSTS AS FOLLOWS.
2 | SK-MONITOR | 0 | 0 | 0 | 2 | 110.52 | 221.04 | 3 | 15 | 176.832 | 20% | 44.208 | AVERAGE | SILENT KNIGHT BRAND MONITOR MODULE WITH A SLIGHT MARK UP ON MATERIALS.
3 | SK-RELAY | 0 | 0 | 0 | 4 | 150.96 | 603.84 | 3 | 15 | 483.072 | 20% | 120.768 | AVERAGE | SILENT KNIGHT BRAND RELAY MODULE, CONTROL PANEL ACCESSORY.
4 | SK-MONITOR 2 | 0 | 0 | 0 | 2 | 198.68 | 397.36 | 3 | 15 | 317.888 | 20% | 79.472 | AVERAGE | SILENT KNIGHT BRAND MODULE FOR TWO INITIATING CIRCUITS.
5 | SK-PHOTO-W | 0 | 0 | 0 | 2 | 115.79 | 231.58 | 3 | 15 | 185.264 | 20% | 46.316 | AVERAGE | SILENT KNIGHT BRAND PHOTOELECTRIC STYLE FIRE DETECTOR
6 | SK-HEAT-W | 0 | 0 | 0 | 1 | 118.56 | 118.56 | 3 | 15 | 94.848 | 20% | 23.712 | AVERAGE | SILENT KNIGHT BRAND HEAT STYLE FIRE DETECTOR
7 | LABOR HOURS FOR WORK ON 26TH | 0 | 0 | 0 | 16 | 187.5 | 3000 | N/A | N/A | 3000 | 0% | 0 | N/A | LABOR HOURS FOR A TOTAL OF SIXTEEN (16) LABOR HOURS SPLIT BETWEEN TWO WORKERS.
8 | OVERHEAD & PROFIT | 0 | 0 | 0 | 1 | 467.66 | 467.66 | N/A | N/A | 467.66 | 0% | 0 | N/A | OVERHEAD AND PROFIT COST
SUB-TOTAL |  |  |  | 5144.21 |  |  | 5040.04 |  |  | 4725.564 |  | 314.476
SALES TAX | [6 empty] | 104.17 |  |  | 97.6703 |  | 6.4997
TOTAL |  |  |  | 5144.21 |  |  | 5144.21 |  |  | 4823.2343 |  | 320.9757
PEREIRA ELECTRICAL CONTRACTING, INC. (732-549-3790) INVOICE # 8653-S/C5
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | PROVIDED THE LABOR AND MATERIALS TO REPLACE DEVICES IN BUILDING 4 | 1 | 7259.99 | 7259.99 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | PROVIDED THE LABOR AND MATERIALS TO REPLACE DEVICES DUE TO STROM IN BUILDING 4. THIS COST WAS PROVIDED WITH NO DETAILS. UPON REQUEST, WE OBTAINED A BREAKDOWN OF COSTS AS FOLLOWS.
2 | SK-MONITOR | 0 | 0 | 0 | 2 | 110.52 | 221.04 | 3 | 15 | 176.832 | 20% | 44.208 | AVERAGE | SILENT KNIGHT BRAND MONITOR MODULE WITH A SLIGHT MARK UP ON MATERIALS.
3 | SK-RELAY | 0 | 0 | 0 | 1 | 150.96 | 150.96 | 3 | 15 | 120.768 | 20% | 30.192 | AVERAGE | SILENT KNIGHT BRAND RELAY MODULE, CONTROL PANEL ACCESSORY.
4 | SK-MONITOR 2 | 0 | 0 | 0 | 2 | 198.68 | 397.36 | 3 | 15 | 317.888 | 20% | 79.472 | AVERAGE | SILENT KNIGHT BRAND MODULE FOR TWO INITIATING CIRCUITS.
5 | SK-PHOTO-W | 0 | 0 | 0 | 1 | 115.79 | 115.79 | 3 | 15 | 92.632 | 20% | 23.158 | AVERAGE | SILENT KNIGHT BRAND PHOTOELECTRIC STYLE FIRE DETECTOR
6 | SK-HEAT-W | 0 | 0 | 0 | 2 | 118.56 | 237.12 | 3 | 15 | 189.696 | 20% | 47.424 | AVERAGE | SILENT KNIGHT BRAND HEAT STYLE FIRE DETECTOR
7 | 5496 BOOSTER | 0 | 0 | 0 | 1 | 858.21 | 858.21 | 3 | 15 | 686.568 | 20% | 171.642 | AVERAGE | SILENT KNIGHT BRAND 5496 INTELLIGENT POWER MODULE REPLACEMENT ELECTRICAL BOARD WITHOUT CABINET.
8 | SK-PULL-SA | 0 | 0 | 0 | 1 | 173.97 | 173.97 | 3 | 15 | 139.176 | 20% | 34.794 | AVERAGE | SILENT KNIGHT BRAND FIRE ALARM PULL STATION WITH ADDED VENDOR MARK UP ON MATERIALS.
9 | DOOR HOLDERS | 0 | 0 | 0 | 2 | 83.69 | 167.38 | 3 | 15 | 133.904 | 20% | 33.476 | AVERAGE | ELECTROMAGNETIC DOOR HOLDERS.
10 | 6820 | 0 | 0 | 0 | 1 | 2695.75 | 2695.75 | 3 | 15 | 2156.6 | 20% | 539.15 | AVERAGE | SILENT KNIGHT BRAND 6820 INTELLIGENT ADDRESSABLE FIRE ALARM CONTROL PANEL WITH A SLIGHT MARK UP ON MATERIALS.
11 | LABOR ON 7/28/25 | 0 | 0 | 0 | 5 | 125 | 625 | N/A | N/A | 625 | 0% | 0 | N/A | LABOR HOURS FOR A TOTAL OF FIVE (5) LABOR HOURS PERFORMED ON THE 28TH
12 | LABOR ON 7/31/25 | 0 | 0 | 0 | 5 | 125 | 625 | N/A | N/A | 625 | 0% | 0 | N/A | LABOR HOURS FOR A TOTAL OF FIVE (5) LABOR HOURS PERFORMED ON THE FOLLOW UP VISIT ON THE 31ST
13 | OVERHEAD & PROFIT | 0 | 0 | 0 | 1 | 660 | 660 | N/A | N/A | 660 | 0% | 0 | N/A | OVERHEAD AND PROFIT COST
SUB-TOTAL |  |  |  | 7259.99 |  |  | 6927.58 |  |  | 5924.064 |  | 1003.516
SALES TAX |  |  |  | 0 |  |  | 332.41 |  |  | 284.2577 |  | 48.1523
TOTAL |  |  |  | 7259.99 |  |  | 7259.99 |  |  | 6208.3217 |  | 1051.6683
PEREIRA ELECTRICAL CONTRACTING, INC. (732-549-3790) INVOICE # 8653-S/C3
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | PROVIDED THE LABOR AND MATERIALS TO REPLACE DEVICES IN BUILDING 3 | 1 | 12489.71 | 12489.71 | 0 | 0 | 0 | N/A | N/A | 0 | 0% | 0 | N/A | PROVIDED THE LABOR AND MATERIALS TO REPLACE DEVICES DUE TO STORM DAMAGE IN BUILDING 3
2 | SK-MONITOR | 0 | 0 | 0 | 2 | 110.52 | 221.04 | 3 | 15 | 176.832 | 20% | 44.208 | AVERAGE | SILENT KNIGHT BRAND MONITOR MODULE WITH A SLIGHT MARK UP ON MATERIALS.
3 | SK-RELAY | 0 | 0 | 0 | 4 | 150.96 | 603.84 | 3 | 15 | 483.072 | 20% | 120.768 | AVERAGE | SILENT KNIGHT BRAND RELAY MODULE, CONTROL PANEL ACCESSORY.
4 | SK-MONITOR 2 | 0 | 0 | 0 | 5 | 198.68 | 993.4 | 3 | 15 | 794.72 | 20% | 198.68 | AVERAGE | SILENT KNIGHT BRAND MODULE FOR TWO INITIATING CIRCUITS.
5 | SK-PHOTO-W | 0 | 0 | 0 | 3 | 115.79 | 347.37 | 3 | 15 | 277.896 | 20% | 69.474 | AVERAGE | SILENT KNIGHT BRAND PHOTOELECTRIC STYLE FIRE DETECTOR
6 | SK-HEAT-W | 0 | 0 | 0 | 2 | 118.56 | 237.12 | 3 | 15 | 189.696 | 20% | 47.424 | AVERAGE | SILENT KNIGHT BRAND HEAT STYLE FIRE DETECTOR
7 | 5496 BOOSTER | 0 | 0 | 0 | 1 | 858.21 | 858.21 | 3 | 15 | 686.568 | 20% | 171.642 | AVERAGE | SILENT KNIGHT BRAND 5496 INTELLIGENT POWER MODULE REPLACEMENT ELECTRICAL BOARD WITHOUT CABINET.
8 | SK-PULL-SA | 0 | 0 | 0 | 1 | 173.97 | 173.97 | 3 | 15 | 139.176 | 20% | 34.794 | AVERAGE | SILENT KNIGHT BRAND FIRE ALARM PULL STATION WITH ADDED VENDOR MARK UP ON MATERIALS.
9 | DOOR HOLDERS | 0 | 0 | 0 | 2 | 83.69 | 167.38 | 3 | 15 | 133.904 | 20% | 33.476 | AVERAGE | ELECTROMAGNETIC DOOR HOLDERS.
10 | P2WL | 0 | 0 | 0 | 7 | 99.68 | 697.76 | 3 | 15 | 558.208 | 20% | 139.552 | AVERAGE | SYSTEM SENSOR WALL MOUNT HORN / STROBE
11 | 6820 | 0 | 0 | 0 | 1 | 2695.75 | 2695.75 | 3 | 15 | 2156.6 | 20% | 539.15 | AVERAGE | SILENT KNIGHT BRAND 6820 INTELLIGENT ADDRESSABLE FIRE ALARM CONTROL PANEL WITH A SLIGHT MARK UP ON MATERIALS.
12 | 589XL BOOSTER | 0 | 0 | 0 | 1 | 1308.29 | 1308.29 | 3 | 15 | 1046.632 | 20% | 261.658 | AVERAGE | SILENT KNIGHT 5820XL FIRE ALARM CONTROL PANEL COMBINED WITH A SILENT KNIGHT 5895XL INTELLIGENT BOOSTER POWER SUPPLY
13 | LABOR AT $125 / HR | 0 | 0 | 0 | 11 | 125 | 1375 | N/A | N/A | 1375 | 0% | 0 | N/A | LABOR HOURS FOR TWO SITE VISITS ON THE 28TH AND 31ST, TOTALING ELEVEN (11) HOURS AT A RATE OF $125 /HR.
14 | LABOR AT $187.50 | 0 | 0 | 0 | 6 | 187.5 | 1125 | N/A | N/A | 1125 | 0% | 0 | N/A | LABOR HOURS FOR TWO SITE VISITS ON THE 28TH AND 31ST, TOTALING SIX (6) HOURS AT A RATE OF $187.50 /HR
15 | OVERHEAD & PROFIT | 0 | 0 | 0 | 1 | 1135.43 | 1135.43 | N/A | N/A | 1135.43 | 0% | 0 | N/A | OVERHEAD & PROFIT
SUB-TOTAL |  |  |  | 12489.71 |  |  | 11939.56 |  |  | 10278.734 |  | 1660.826
SALES TAX | [6 empty] | 550.15 |  |  | 473.6226 |  | 76.5274
TOTAL |  |  |  | 12489.71 |  |  | 12489.71 |  |  | 10752.3566 |  | 1737.3534
PEREIRA ELECTRICAL CONTRACTING, INC. (732-549-3790) INVOICE # 8653-S/C6
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | TOTAL COSTS OF MATERIALS: | 1 | 23.66 | 23.66 | 1 | 23.66 | 23.66 | 3 | 20 | 20.111 | 15% | 3.549 | AVERAGE | MATERIALS FOR BUILDING 6'S LIGHTING INCLUDE: LIGHTNING WIRE, AND COMMON AREA GFI OUTLET.
2 | TOTAL COST OF LABOR | 6 | 125 | 750 | 6 | 125 | 750 | N/A | N/A | 750 | 0% | 0 | N/A | TOTAL COST OF LABOR FOR TWO MEN FOR 3 HOURS EACH.
3 | 15% PROFIT AND OVERHEAD | 1 | 123.5 | 123.5 | 1 | 123.5 | 123.5 | N/A | N/A | 123.5 | 0% | 0 | N/A | 15% PROFIT AND OVERHEAD
SUB-TOTAL |  |  |  | 897.16 |  |  | 897.16 |  |  | 893.611 |  | 3.549
SALES TAX |  |  |  | 49.69 |  |  | 49.69 |  |  | 49.4934 |  | 0.19656
TOTAL |  |  |  | 946.85 |  |  | 946.85 |  |  | 943.1044 |  | 3.7456
| TOTAL PRESENTED |  |  | 44947.832
| TOTAL RESEARCHED RCV |  |  | 44009.532
| TOTAL ACV |  |  | 38966.6318
| TOTAL DEPRECIATION |  |  | 5042.9002