## Sheet1
INSURED: AL & VAL, INC., DBA CHARLIE’S DINER (#2)
LSG MATTER #: 787200.11663-01
CLAIM #: FVA8774
DATE OF LOSS: 8/13/2024 | [5 empty] | COLOR DENOTES PRICING DISCREPANCY
CAUSE OF LOSS: FIRE
ALFANO ELECTRIC LLC (413-636-3676) CODE UPDATES TOTALING $31,853.30
REF # | ITEM | CLAIM PRESENTED |  |  | LSG RESEARCHED RCV |  |  | AGE (YEARS) | USEFUL LIFE (YEARS) | ACV (MAX DEPRECIATION 75%) | DEPRECIATION% | DEPRECIATION | CONDITION | NOTES
|  | QTY | UNIT COST | TOTAL | QTY | UNIT COST | TOTAL
1 | FIRE ALARM SYSTEM | 1 | 21500 | 21500 | 0 | 0 | 0 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | FIRE ALARM SYSTEM- 3 BEACONS, 5 STROBES, 4 DOOR PULLS, 7 SMOKE DETECTORS, 3 HEAT DETECTORS, 2 MODULES FOR ANSUL, 1 REMOTE ANNUNCIATOR, 1 ALARM PANEL, STARLINK CELLULAR COMMUNICATOR. (THIS COST WAS GIVEN TO US IN A LUMP SUM COST, WITH SOME HELP FROM THE VENDOR, AND PERFORMING INDEPENDENT RESEARCH WE WERE ABLE TO FILL IN THE BLANKS BELOW.)
2 | 3 BEACONS | 0 | 0 | 0 | 3 | 389.95 | 1169.85 | 0 | 20 | 1169.85 | 0% | 0 | N/A | THREE (3) RED LIGHT BEACONS
3 | 5 STROBES | 0 | 0 | 0 | 5 | 144.67 | 723.35 | 0 | 20 | 723.35 | 0% | 0 | N/A | FIVE (5) WALL STROBE LIGHTS.
4 | 4 DOOR PULLS | 0 | 0 | 0 | 4 | 130 | 520 | 0 | 20 | 520 | 0% | 0 | N/A | FOUR (4) PULL STATIONS.
5 | 7 SMOKE DETECTORS | 0 | 0 | 0 | 7 | 175.25 | 1226.75 | 0 | 20 | 1226.75 | 0% | 0 | N/A | SEVEN (7) SMOKE DETECTORS.
6 | 3 HEAT DETECTORS | 0 | 0 | 0 | 3 | 150 | 450 | 0 | 20 | 450 | 0% | 0 | N/A | THREE (3) HEAT DETECTORS.
7 | 2 MODULES FOR ANSUL | 0 | 0 | 0 | 2 | 3895.45 | 7790.9 | 0 | 20 | 7790.9 | 0% | 0 | N/A | MODULES TO ACCURATE / SENCE THE ANSUL SYSTEM.
8 | 1 REMOTE ANNUNCIATOR | 0 | 0 | 0 | 1 | 1630 | 1630 | 0 | 20 | 1630 | 0% | 0 | N/A | REMOTE ANNUNCIATOR UNIT
9 | 1 ALARM PANEL | 0 | 0 | 0 | 1 | 1698.84 | 1698.84 | 0 | 20 | 1698.84 | 0% | 0 | N/A | ONE (1) FIRE ALARM PANEL WITH A SLIGHT MARK UP ON MATERIALS.
10 | STARLINK CELLULAR COMMUNICATOR | 0 | 0 | 0 | 1 | 410.31 | 410.31 | 0 | 20 | 410.31 | 0% | 0 | N/A | STARLINK FIRE COMMUNICATOR UNIT.
11 | LABOR TO INSTALL FIRE ALARM SYSTEM | 0 | 0 | 0 | 42 | 140 | 5880 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | ROUGHLY FORTY (40) LABOR HOURS TO INSTALL THE FIRE ALARM SYSTEM COMPONENTS LISTED ABOVE.
12 | KEY BOX FOR FIRE DEPARTMENT (LABOR) | 0.75 | 140 | 105 | 0.75 | 140 | 105 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL THE FIRE DEPARTMENT KEY BOX.
13 | KEY BOX FOR FIRE DEPARTMENT (MATERIALS) | 1 | 480 | 480 | 1 | 480 | 480 | 0 | 20 | 480 | 0% | 0 | N/A | MATERIALS: FIRE DEPARTMENT KEY BOX
14 | 120V CO DETECTORS (MATERIALS) | 3 | 55 | 165 | 3 | 55 | 165 | 0 | 20 | 165 | 0% | 0 | N/A | MATERIALS: THREE (3) 120V CARBON MONOXIDE DETECTORS
15 | 120V CO DETECTORS (LABOR) | 3 | 140 | 420 | 3 | 140 | 420 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR HOURS TO INSTALL THE THREE CARBON MONOXIDE DECODERS.
16 | DEDICATED GFCI RECEPTACLES | 22 | 37.5 | 825 | 22 | 37.5 | 825 | 0 | 20 | 825 | 0% | 0 | N/A | TWENTY TWO (22) GFCI RECEPTACLES
17 | EXIT SIGN / EMERGENCY LIGHT COMBO REMOTE HEAD CAPABLE (MATERIALS) | 3 | 156 | 328 | 3 | 156 | 468 | 0 | 20 | 468 | 0% | 0 | N/A | THREE (3) EXIT SIGH / EMERGENCY LIGHT COMBO. (NOTE: THE COST GIVEN IN THE INVOICE HAS A CALCULATION ERROR THAT STATES THAT THIS COST (PLUS ITS LABOR) SHOULD EQUAL $888.00. THIS IS A MISTAKE AND SHOULD HAVE ADDED UP TO $1,028.00. (A $140.00 DIFFERENCE) THIS WAS CONFIRMED BY THE VENDOR.
18 | EXIT SIGN / EMERGENCY LIGHT COMBO REMOTE HEAD CAPABLE (LABOR) | 4 | 140 | 560 | 4 | 140 | 560 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL THE THREE EXIT SIGNS.
19 | EXIT SIGN / EMERGENCY LIGHT COMBO (MATERIALS) | 1 | 136.5 | 136.5 | 1 | 136.5 | 136.5 | 0 | 20 | 136.5 | 0% | 0 | N/A | ONE (1) EXIT SIGN / EMERGENCY LIGHT COMBO.
20 | EXIT SIGN / EMERGENCY LIGHT COMBO (LABOR) | 1 | 140 | 140 | 1 | 140 | 140 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL THE ONE (1) EXIT LIGHT COMBO
21 | EMERGENCY LIGHTS (MATERIALS) | 7 | 82 | 574 | 7 | 82 | 574 | 0 | 20 | 574 | 0% | 0 | N/A | SEVEN (7) EMERGENCY EXIT LIGHTS.
22 | EMERGENCY LIGHTS (LABOR) | 7 | 140 | 980 | 7 | 140 | 980 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL THE EMERGENCY LIGHTS.
23 | 1 POLE 20A QO GFCI BREAKERS (MATERIALS) | 9 | 67.5 | 607.5 | 9 | 67.5 | 607.5 | 0 | 20 | 607.5 | 0% | 0 | N/A | TWENTY (20) AMP SINGLE POLE GFCI BREAKERS
24 | 2 POLE 20A QO GFCI BREAKERS (MATERIALS) | 4 | 184.25 | 737 | 4 | 184.25 | 737 | 0 | 20 | 737 | 0% | 0 | N/A | TWENTY (20) AMP DOUBLE POLE GFCI BREAKERS
25 | REMOTE HEAD FOR EMERGENCY EGRESS LIGHTING (MATERIALS) | 3 | 53.7 | 161.1 | 3 | 53.7 | 161.1 | 0 | 20 | 161.1 | 0% | 0 | N/A | REMOTE HEAD EMERGENCY EGRESS LIGHTING. MATERIALS.
26 | REMOTE HEAD FOR EMERGENCY EGRESS LIGHTING (LABOR) | 3 | 140 | 420 | 3 | 140 | 420 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL THREE EGRESS LIGHTS.
27 | PIPE AND WIRE (LABOR) | 10 | 140 | 1400 | 10 | 140 | 1400 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | PIPE AND WIRE TWO (2) GAS SHUT OFFS, ONE (1) GAS RESET, AND THREE (3) RECEPTACLES UNDER THE HOODS TO THE ANSUL SYSTEM WITH CONTACTORS
28 | 20A GFCI DEADFRONT (MATERIALS) | 3 | 31.9 | 95.7 | 3 | 31.9 | 95.7 | 0 | 20 | 95.7 | 0% | 0 | N/A | TWENTY (20) AMP GFCI DEADFRONT MATERIALS.
29 | 3 POLE CONTACTOR FOR RECEPTACLES UNDER HOOD AND GAS RESET | 2 | 94.25 | 188.5 | 2 | 94.25 | 188.5 | 0 | 20 | 188.5 | 0% | 0 | N/A | THREE (3) POLE CONTACTOR FOR HOOD AND GAS RESET.
30 | SERVICE RECEPTACLE ON THE ROOF | 1 | 400 | 400 | 1 | 400 | 400 | 0 | 20 | 400 | 0% | 0 | N/A | SERVICE RECEPTACLE ON ROOF. (ROUGHLY 100 FEET OF CONDUIT AND WIRE FROM FRONT OF BUILDING UP TO THE ROOF FOR A ROOF 120 VOLT GFCI WITH WATERPROOF COVER)
31 | SIGN DISCONNECT ON THE ROOF (MATERIALS) | 1 | 60 | 60 | 1 | 60 | 60 | 0 | 20 | 60 | 0% | 0 | N/A | ELECTRICAL DISCONNECT FOR ROOF SIGN.
32 | SIGN DISCONNECT ON THE ROOF (LABOR) | 1 | 140 | 140 | 1 | 140 | 140 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL DISCONNECT ON THE ROOF FOR SIGN.
33 | SERVICE DISCONNECT FOR THE EXHAUST HOOD (MATERIALS) | 3 | 60 | 180 | 3 | 60 | 180 | 0 | 20 | 180 | 0% | 0 | N/A | SERVICE DISCONNECT FOR THE EXHAUST HOOD. MATERIALS
34 | SERVICE DISCONNECT FOR THE EXHAUST HOOD (LABOR) | 2.5 | 140 | 350 | 2.5 | 140 | 350 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | LABOR TO INSTALL THE SERVICE DISCONNECT ON THE HOOD EXHAUST.
35 | ELECTRICAL / FIRE MATERIALS. | 1 | 900 | 900 | 1 | 900 | 900 | N/A | N/A | #VALUE! | #VALUE! | #VALUE! | N/A | BOXES, WIRE, CONNECTORS, PIPE, COVERS FOR ABOVE ITEMS EXCEPT FOR FIRE ALARM
SUB-TOTAL |  |  |  | 31853.3 |  |  | 31993.3 |  |  | #VALUE! |  | #VALUE!
SALES TAX |  |  |  | 0 |  |  | 0 |  |  | 0 |  | 0
TOTAL |  |  |  | 31853.3 |  |  | 31993.3 |  |  | #VALUE! |  | #VALUE!
| TOTAL ACV |  |  | 31853.3
| TOTAL DEPRECIATION |  |  | 31993.3